## Increase Renewable
Increased Renewables Comparison
6 hours daily use
|  |  | Year | Storage (GWh) | Cost ($millions) | Power (GW) | Parameter | Multi Nodal Grid | 6 Hour Equivalent Daily Use | 12 Hour Equivalent Daily Use | 18 Hour Equivalent Daily Use | Unlimited Daily Use
|  |  | 2045 | 666.8 | 126998.4682 | 4.8309 | Power Requirement (GW) | w | 5.6655 | 2.7773 | 2.5037 | 2.0419
Interconnector Ratings | Energy Requirement (GWh) |  | 2046 | 181.2 | 41978.6125 | 4.4587 | Energy Requirement (GWh) | 842.5 | 704 | 352.4335 | 114.9488 | 60.8683
Multi Nodal Grid | 842.5 |  | 2047 | 286.7 | 58350.65 | 3.5464 | Cost ($m) | w | 134548.8317 | 68651.5112 | 26778.4535 | 16054.7882
5% Renewable Increase | 733.4 | 0.1295 | 2048 | 214.9 | 46156.2064 | 3.2756
10% Renewable Increase | 681.7 | 0.070494 | 2049 | 397 | 79276.5557 | 4.3264
15% Renewable Increase | 630.3 | 0.0754 | 2050 | 231.8 | 48337.1755 | 2.9647
20% Renewable Increase | 579.1 | 0.081231 | 2051 | 704 | 134548.8317 | 5.6655
12 hours daily use
|  |  | Year | Storage (GWh) | Cost ($millions) | Power (GW)
|  |  | 2045 | 210.9027 | 44191.7294 | 2.7253
|  |  | 2046 | 90.1605 | 21095.6096 | 1.7724
|  |  | 2047 | 68.772 | 17287.0929 | 1.9536
|  |  | 2048 | 119.6005 | 27200.8579 | 2.1141
|  |  | 2049 | 107.5199 | 27423.7468 | 2.8822
|  |  | 2050 | 82.9476 | 22416.1267 | 3.1626
|  |  | 2051 | 352.4335 | 68651.5112 | 2.7773
18 hours daily use
|  |  | Year | Storage (GWh) | Cost ($millions) | Power (GW)
|  |  | 2045 | 88.2755 | 21768.0615 | 2.2425
|  |  | 2046 | 52.2788 | 13369.6504 | 1.7045
|  |  | 2047 | 33.966 | 10107.8911 | 1.6905
|  |  | 2048 | 59.9313 | 15773.9197 | 1.9789
|  |  | 2049 | 55.4948 | 15676.7049 | 2.3126
|  |  | 2050 | 48.2455 | 13595.93 | 1.887
|  |  | 2051 | 114.9488 | 26778.4535 | 2.5037
Unconstrained
|  |  | Year | Storage (GWh) | Cost ($millions) | Power (GW)
|  |  | 2045 | 59.6093 | 15958.5438 | 2.2425
|  |  | 2046 | 27.0154 | 8889.8043 | 1.9412
|  |  | 2047 | 19.1507 | 7065.7978 | 1.8375
|  |  | 2048 | 31.83 | 10078.6688 | 1.974
|  |  | 2049 | 32.4555 | 11021.2584 | 2.4563
|  |  | 2050 | 35.6825 | 10934.6492 | 1.9538
|  |  | 2051 | 60.8683 | 16054.7882 | 2.0419

## IC Capacity Increase
Interconnector Ratings Comparison
Interconnector Ratings | Energy Requirement (GWh)
Copper Plate Grid | 840.2
Multi Nodal Grid | 842.5
5% Interconnector Increase | 811.4
10% Interconnector Increase | 782.9
15% Interconnector Increase | 758.7
20% Interconnector Increase | 750.3

## Daily IC Use
Increased Daily Interconnector Use Comparison
6 hours daily use
|  | Year | Storage (GWh) | Cost ($millions) | Power (GW) | Parameter | Multi Nodal Grid | 6 Hour Equivalent Daily Use | 12 Hour Equivalent Daily Use | 18 Hour Equivalent Daily Use | Unlimited Daily Use
|  | 2045 | 666.8 | 126998.4682 | 4.8309 | Power Requirement (GW) | w | 5.6655 | 2.7773 | 2.5037 | 2.0419
Interconnector Ratings | Energy Requirement (GWh) | 2046 | 181.2 | 41978.6125 | 4.4587 | Energy Requirement (GWh) | 842.5 | 704 | 352.4335 | 114.9488 | 60.8683
Multi Nodal Grid | 842.5 | 2047 | 286.7 | 58350.65 | 3.5464 | Cost ($m) | w | 134548.8317 | 68651.5112 | 26778.4535 | 16054.7882
6 Hour Equivalent Daily Use | 704 | 2048 | 214.9 | 46156.2064 | 3.2756
12 Hour Equivalent Daily Use | 352.4335 | 2049 | 397 | 79276.5557 | 4.3264
18 Hour Equivalent Daily Use | 114.9488 | 2050 | 231.8 | 48337.1755 | 2.9647
Unlimited Daily Use | 60.8683 | 2051 | 704 | 134548.8317 | 5.6655
12 hours daily use
|  | Year | Storage (GWh) | Cost ($millions) | Power (GW)
|  | 2045 | 210.9027 | 44191.7294 | 2.7253
|  | 2046 | 90.1605 | 21095.6096 | 1.7724
|  | 2047 | 68.772 | 17287.0929 | 1.9536
|  | 2048 | 119.6005 | 27200.8579 | 2.1141
|  | 2049 | 107.5199 | 27423.7468 | 2.8822
|  | 2050 | 82.9476 | 22416.1267 | 3.1626
|  | 2051 | 352.4335 | 68651.5112 | 2.7773
18 hours daily use
|  | Year | Storage (GWh) | Cost ($millions) | Power (GW)
|  | 2045 | 88.2755 | 21768.0615 | 2.2425
|  | 2046 | 52.2788 | 13369.6504 | 1.7045
|  | 2047 | 33.966 | 10107.8911 | 1.6905
|  | 2048 | 59.9313 | 15773.9197 | 1.9789
|  | 2049 | 55.4948 | 15676.7049 | 2.3126
|  | 2050 | 48.2455 | 13595.93 | 1.887
|  | 2051 | 114.9488 | 26778.4535 | 2.5037
Unconstrained
|  | Year | Storage (GWh) | Cost ($millions) | Power (GW)
|  | 2045 | 59.6093 | 15958.5438 | 2.2425
|  | 2046 | 27.0154 | 8889.8043 | 1.9412
|  | 2047 | 19.1507 | 7065.7978 | 1.8375
|  | 2048 | 31.83 | 10078.6688 | 1.974
|  | 2049 | 32.4555 | 11021.2584 | 2.4563
|  | 2050 | 35.6825 | 10934.6492 | 1.9538
|  | 2051 | 60.8683 | 16054.7882 | 2.0419

## All Model Comparison
Multi Nodal
| Multi Nodal Grid | Base Case | Regional Split | Interstate Reliance | Dispatchable Energy | All Cases | Base Case | Regional Split | Interstate Reliance | Dispatchable Energy | All Cases | Median Power | 4.1496
Min | 19.1507 | 545.7694 | 543.777 | 666.8221 | 335.6803 | 545.7694 | 4.458 | 4.3765 | 4.8309 | 4.413 | 4.458
Max | 842.4836 | 230.2544 | 230.2171 | 181.2199 | 177.2631 | 230.2544 | 4.5386 | 4.5363 | 4.4587 | 3.7324 | 4.5386
1st Quartile | 117.2747 | 416.7011 | 416.2151 | 286.7425 | 225.3266 | 416.7011 | 5.0057 | 5.0295 | 3.5464 | 4.3839 | 5.0057
Median | 181.2199 | 307.5418 | 307.4346 | 214.8694 | 223.3349 | 307.5418 | 5.0892 | 5.0747 | 3.2756 | 3.7677 | 5.0892
3rd Quartile | 285.8845 | 509.7544 | 508.4754 | 397.0325 | 285.0266 | 509.7544 | 5.4286 | 5.4136 | 4.3264 | 5.6262 | 5.4286
|  | 252.8656 | 252.4901 | 231.7578 | 179.5999 | 252.8656 | 4.4154 | 4.3879 | 2.9647 | 4.6154 | 4.4154
Whisker Bottom | 98.1239 | 842.4836 | 840.2307 | 704.0362 | 637.6325 | 842.4836 | 7.4829 | 7.3888 | 5.6655 | 5.5686 | 7.4829
1st Quartile | 117.2747 |  |  | 210.9027 | 337.253 | 543.777 |  |  | 2.7253 | 4.3816 | 4.3765
Median | 63.9452 |  |  | 90.1605 | 177.2631 | 230.2171 |  |  | 1.7724 | 3.7324 | 4.5363
3rd Quartile | 104.6647 |  |  | 68.772 | 225.3266 | 416.2151 |  |  | 1.9536 | 4.3839 | 5.0295
Whisker Top | 556.599 |  |  | 119.6005 | 223.3349 | 307.4346 |  |  | 2.1141 | 3.7677 | 5.0747
|  |  |  | 107.5199 | 285.0266 | 508.4754 |  |  | 2.8822 | 5.6262 | 5.4136
|  |  |  | 82.9476 | 179.5999 | 252.4901 |  |  | 3.1626 | 4.6154 | 4.3879
|  |  |  | 352.4335 | 641.5296 | 840.2307 |  |  | 2.7773 | 4.2973 | 7.3888
|  |  |  | 88.2755 | 337.253 | 666.8221 |  |  | 2.2425 | 4.3816 | 4.8309
|  |  |  | 52.2788 | 177.2631 | 181.2199 |  |  | 1.7045 | 3.7324 | 4.4587
|  |  |  | 33.966 | 225.3266 | 286.7425 |  |  | 1.6905 | 4.3839 | 3.5464
|  |  |  | 59.9313 | 223.3349 | 214.8694 |  |  | 1.9789 | 3.7677 | 3.2756
|  |  |  | 55.4948 | 285.0266 | 397.0325 |  |  | 2.3126 | 5.6262 | 4.3264
|  |  |  | 48.2455 | 179.5999 | 231.7578 |  |  | 1.887 | 4.6154 | 2.9647
|  |  |  | 114.9488 | 641.5296 | 704.0362 |  |  | 2.5037 | 4.2973 | 5.6655
|  |  |  | 59.6093 | 306.6585 | 210.9027 |  |  | 2.2425 | 4.4695 | 2.7253
|  |  |  | 27.0154 | 151.3822 | 90.1605 |  |  | 1.9412 | 3.8324 | 1.7724
|  |  |  | 19.1507 | 183.3653 | 68.772 |  |  | 1.8375 | 4.9735 | 1.9536
|  |  |  | 31.83 | 203.8237 | 119.6005 |  |  | 1.974 | 3.4537 | 2.1141
|  |  |  | 32.4555 | 262.193 | 107.5199 |  |  | 2.4563 | 5.4357 | 2.8822
|  |  |  | 35.6825 | 143.1384 | 82.9476 |  |  | 1.9538 | 4.7135 | 3.1626
|  |  |  | 60.8683 | 602.973 | 352.4335 |  |  | 2.0419 | 7.1713 | 2.7773
[5 empty] | 280.8548 | 88.2755 |  |  |  | 4.4816 | 2.2425
[5 empty] | 151.3822 | 52.2788 |  |  |  | 3.8324 | 1.7045
[5 empty] | 161.2928 | 33.966 |  |  |  | 4.0931 | 1.6905
[5 empty] | 203.8237 | 59.9313 |  |  |  | 3.4537 | 1.9789
[5 empty] | 227.7209 | 55.4948 |  |  |  | 5.7262 | 2.3126
[5 empty] | 143.1384 | 48.2455 |  |  |  | 4.7135 | 1.887
[5 empty] | 569.4325 | 114.9488 |  |  |  | 4.3755 | 2.5037
[5 empty] | 280.8548 | 59.6093 |  |  |  | 4.4816 | 2.2425
[5 empty] | 151.3822 | 27.0154 |  |  |  | 3.8324 | 1.9412
[5 empty] | 161.2928 | 19.1507 |  |  |  | 4.0931 | 1.8375
[5 empty] | 203.8237 | 31.83 |  |  |  | 3.4537 | 1.974
[5 empty] | 227.7209 | 32.4555 |  |  |  | 5.7262 | 2.4563
[5 empty] | 143.1384 | 35.6825 |  |  |  | 4.7135 | 1.9538
[5 empty] | 569.4325 | 60.8683 |  |  |  | 4.3755 | 2.0419
[5 empty] | 303.7096 | 335.6803 |  |  |  | 4.504 | 4.413
[5 empty] | 127.3111 | 177.2631 |  |  |  | 3.9034 | 3.7324
[5 empty] | 177.4867 | 225.3266 |  |  |  | 5.0057 | 4.3839
[5 empty] | 183.7852 | 223.3349 |  |  |  | 3.4748 | 3.7677
[5 empty] | 258.2062 | 285.0266 |  |  |  | 5.4221 | 5.6262
[5 empty] | 107.3758 | 179.5999 |  |  |  | 4.8054 | 4.6154
[5 empty] | 597.763 | 637.6325 |  |  |  | 7.5422 | 5.5686
[5 empty] | 224.8642 | 337.253 |  |  |  | 4.5816 | 4.3816
[5 empty] | 127.3111 | 177.2631 |  |  |  | 3.9034 | 3.7324
[5 empty] | 128.4545 | 225.3266 |  |  |  | 3.7353 | 4.3839
[5 empty] | 183.7852 | 223.3349 |  |  |  | 3.4748 | 3.7677
[5 empty] | 172.364 | 285.0266 |  |  |  | 5.5836 | 5.6262
[5 empty] | 107.3758 | 179.5999 |  |  |  | 4.8054 | 4.6154
[5 empty] | 497.9406 | 641.5296 |  |  |  | 4.4755 | 4.2973
[5 empty] | 224.8642 | 337.253 |  |  |  | 4.5816 | 4.3816
[5 empty] | 127.3111 | 177.2631 |  |  |  | 3.9034 | 3.7324
[5 empty] | 128.4545 | 225.3266 |  |  |  | 3.7353 | 4.3839
[5 empty] | 183.7852 | 223.3349 |  |  |  | 3.4748 | 3.7677
[5 empty] | 172.364 | 285.0266 |  |  |  | 5.5836 | 5.6262
[5 empty] | 107.3758 | 179.5999 |  |  |  | 4.8054 | 4.6154
[5 empty] | 497.9406 | 641.5296 |  |  |  | 4.4755 | 4.2973
[5 empty] | 302.3239 | 306.6585 |  |  |  | 4.7075 | 4.4695
[5 empty] | 110.3569 | 151.3822 |  |  |  | 3.2736 | 3.8324
[5 empty] | 175.104 | 183.3653 |  |  |  | 5.0058 | 4.9735
[5 empty] | 167.0519 | 203.8237 |  |  |  | 3.2537 | 3.4537
[5 empty] | 258.2165 | 262.193 |  |  |  | 5.3308 | 5.4357
[5 empty] | 106.1139 | 143.1384 |  |  |  | 4.084 | 4.7135
[5 empty] | 597.763 | 602.973 |  |  |  | 7.5422 | 7.1713
[5 empty] | 200.556 | 280.8548 |  |  |  | 3.6226 | 4.4816
[5 empty] | 110.3569 | 151.3822 |  |  |  | 3.2736 | 3.8324
[5 empty] | 91.5551 | 161.2928 |  |  |  | 3.8372 | 4.0931
[5 empty] | 167.0519 | 203.8237 |  |  |  | 3.2537 | 3.4537
[5 empty] | 145.0103 | 227.7209 |  |  |  | 4.5221 | 5.7262
[5 empty] | 95.4589 | 143.1384 |  |  |  | 3.5583 | 4.7135
[5 empty] | 421.4941 | 569.4325 |  |  |  | 5.0173 | 4.3755
[5 empty] | 204.0339 | 280.8548 |  |  |  | 3.4355 | 4.4816
[5 empty] | 110.3569 | 151.3822 |  |  |  | 3.2736 | 3.8324
[5 empty] | 91.5551 | 161.2928 |  |  |  | 3.8372 | 4.0931
[5 empty] | 167.0519 | 203.8237 |  |  |  | 3.2537 | 3.4537
[5 empty] | 145.0103 | 227.7209 |  |  |  | 4.5221 | 5.7262
[5 empty] | 95.4589 | 143.1384 |  |  |  | 3.5583 | 4.7135
[5 empty] | 426.3593 | 569.4325 |  |  |  | 4.5755 | 4.3755
[5 empty] | 301.7221 | 303.7096 |  |  |  | 4.8285 | 4.504
[5 empty] | 97.725 | 127.3111 |  |  |  | 3.1876 | 3.9034
[5 empty] | 175.104 | 177.4867 |  |  |  | 5.0058 | 5.0057
[5 empty] | 150.4075 | 183.7852 |  |  |  | 3.3519 | 3.4748
[5 empty] | 258.2165 | 258.2062 |  |  |  | 5.3308 | 5.4221
[5 empty] | 106.3784 | 107.3758 |  |  |  | 4.0713 | 4.8054
[5 empty] | 597.763 | 597.763 |  |  |  | 7.5422 | 7.5422
[5 empty] | 180.5415 | 224.8642 |  |  |  | 4.1496 | 4.5816
[5 empty] | 97.9075 | 127.3111 |  |  |  | 2.8018 | 3.9034
[5 empty] | 84.0038 | 128.4545 |  |  |  | 3.6231 | 3.7353
[5 empty] | 150.9905 | 183.7852 |  |  |  | 3.1041 | 3.4748
[5 empty] | 122.2421 | 172.364 |  |  |  | 3.9189 | 5.5836
[5 empty] | 88.9096 | 107.3758 |  |  |  | 2.8794 | 4.8054
[5 empty] | 370.9352 | 497.9406 |  |  |  | 7.1713 | 4.4755
[5 empty] | 184.6441 | 224.8642 |  |  |  | 3.3355 | 4.5816
[5 empty] | 97.9075 | 127.3111 |  |  |  | 2.8018 | 3.9034
[5 empty] | 79.6981 | 128.4545 |  |  |  | 3.4021 | 3.7353
[5 empty] | 150.9905 | 183.7852 |  |  |  | 3.1041 | 3.4748
[5 empty] | 122.2421 | 172.364 |  |  |  | 3.9189 | 5.5836
[5 empty] | 88.9096 | 107.3758 |  |  |  | 2.8794 | 4.8054
[5 empty] | 356.4183 | 497.9406 |  |  |  | 4.6755 | 4.4755
[6 empty] | 302.3239 |  |  |  |  | 4.7075
[6 empty] | 110.3569 |  |  |  |  | 3.2736
[6 empty] | 175.104 |  |  |  |  | 5.0058
[6 empty] | 167.0519 |  |  |  |  | 3.2537
[6 empty] | 258.2165 |  |  |  |  | 5.3308
[6 empty] | 106.1139 |  |  |  |  | 4.084
[6 empty] | 597.763 |  |  |  |  | 7.5422
[6 empty] | 200.556 |  |  |  |  | 3.6226
[6 empty] | 110.3569 |  |  |  |  | 3.2736
[6 empty] | 91.5551 |  |  |  |  | 3.8372
[6 empty] | 167.0519 |  |  |  |  | 3.2537
[6 empty] | 145.0103 |  |  |  |  | 4.5221
[6 empty] | 95.4589 |  |  |  |  | 3.5583
[6 empty] | 421.4941 |  |  |  |  | 5.0173
[6 empty] | 204.0339 |  |  |  |  | 3.4355
[6 empty] | 110.3569 |  |  |  |  | 3.2736
[6 empty] | 91.5551 |  |  |  |  | 3.8372
[6 empty] | 167.0519 |  |  |  |  | 3.2537
[6 empty] | 145.0103 |  |  |  |  | 4.5221
[6 empty] | 95.4589 |  |  |  |  | 3.5583
[6 empty] | 426.3593 |  |  |  |  | 4.5755
[6 empty] | 301.7221 |  |  |  |  | 4.8285
[6 empty] | 97.725 |  |  |  |  | 3.1876
[6 empty] | 175.104 |  |  |  |  | 5.0058
[6 empty] | 150.4075 |  |  |  |  | 3.3519
[6 empty] | 258.2165 |  |  |  |  | 5.3308
[6 empty] | 106.3784 |  |  |  |  | 4.0713
[6 empty] | 597.763 |  |  |  |  | 7.5422
[6 empty] | 180.5415 |  |  |  |  | 4.1496
[6 empty] | 97.9075 |  |  |  |  | 2.8018
[6 empty] | 84.0038 |  |  |  |  | 3.6231
[6 empty] | 150.9905 |  |  |  |  | 3.1041
[6 empty] | 122.2421 |  |  |  |  | 3.9189
[6 empty] | 88.9096 |  |  |  |  | 2.8794
[6 empty] | 370.9352 |  |  |  |  | 7.1713
[6 empty] | 184.6441 |  |  |  |  | 3.3355
[6 empty] | 97.9075 |  |  |  |  | 2.8018
[6 empty] | 79.6981 |  |  |  |  | 3.4021
[6 empty] | 150.9905 |  |  |  |  | 3.1041
[6 empty] | 122.2421 |  |  |  |  | 3.9189
[6 empty] | 88.9096 |  |  |  |  | 2.8794
[6 empty] | 356.4183 |  |  |  |  | 4.6755