## REZ Forecasts Data
REZ Forecast Data |  |  | 1121.32 | 1121.32 | 1121.32 | 1787.9752 | 1787.9752 | 2257.6525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2106.7225 | 2106.7225 | 2106.7225 | 2106.7225 | 3142.29 | 3142.29 | 3216.0713 | 3216.0713 | 3142.29 | 3142.29 | 3142.29 | 2809.95 | 2560.96 | 2530.96
|  |  | 478.67 | 478.67 | 478.67 | 1145.3252 | 1145.3252 | 1615.0025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1464.0725 | 1464.0725 | 1464.0725 | 1464.0725 | 2499.64 | 2499.64 | 2573.4213 | 2573.4213 | 2499.64 | 2499.64 | 2499.64 | 2167.3 | 1918.31 | 1888.31
The first two tables have been extracted from AEMO's 2024 ISP step change workbook for NSW.
Installed Generator Capacity by REZ ISP (MW) |  |  |  | Some values have been rounded as there was a difference of around 0.01MW in some cases. I believe this is due to rounding issues.
REZ | REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
N0 | NSW Non-REZ | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Solar | 166 | 166 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 199.1807 | 199.1807 | 199.1807 | 199.1807 | 202.9707 | 202.9707 | 202.9707 | 218.3531 | 218.3531 | 218.6303 | 228.5003 | 231.2635 | 231.2635 | 231.2635 | 232.4638 | 232.4638
N2 | New England | Solar | 535.02 | 855.02 | 1120.66 | 1120.66 | 1120.66 | 1120.66 | 3247.8993 | 3247.8993 | 3247.8993 | 3247.8993 | 3247.8993 | 3463.7962 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 4018.3084 | 4018.3084 | 5643.139 | 5643.139 | 6510.4537 | 6510.4537 | 6510.4537 | 6510.4537 | 6510.4537
N3 | Central-West Orana | Solar | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 2949.1669 | 4279.1423 | 4279.1423 | 4279.1423 | 4279.1423 | 4279.1423 | 4279.1423 | 5888.6345 | 5888.6345 | 5888.6345 | 5888.6345 | 6574.2334 | 6574.2334 | 6759.9582 | 7513.98 | 7513.98 | 7811.0012 | 8087.0135 | 8087.0135 | 8040.3135 | 7981.58 | 7911.83 | 7741.95
N4 | Broken Hill | Solar | 53 | 53 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 306.3567 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582
N5 | South West NSW | Solar | 478.67 | 478.67 | 478.67 | 1145.3252 | 1145.3252 | 1615.0025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1614.1025 | 1464.0725 | 1464.0725 | 1464.0725 | 1464.0725 | 2499.64 | 2499.64 | 2573.4213 | 2573.4213 | 2499.64 | 2499.64 | 2499.64 | 2167.3 | 1918.31 | 1888.31
N6 | Wagga Wagga | Solar | 456.22 | 816.1 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1118 | 1118
N7 | Tumut | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N8 | Cooma-Monaro | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N9 | Hunter-Central Coast | Solar | 0 | 0 | 504.7616 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 660.934 | 937.0757 | 991.3857 | 991.3857 | 991.3857
N12 | Illawarra | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N0 | NSW Non-REZ | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N2 | New England | Wind | 442.48 | 442.48 | 781.9725 | 1106.2575 | 2954.0688 | 3388.6214 | 4436.7467 | 4436.7467 | 4436.7467 | 4436.7467 | 7579.7129 | 7842.48 | 7842.48 | 7842.48 | 7670 | 7670 | 7670 | 7670 | 7670 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400
N3 | Central-West Orana | Wind | 258.73 | 396.73 | 1058.6863 | 1472.73 | 4133.8813 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 6118.6708 | 8477.2625 | 8364.0725 | 8364.0725 | 8364.0725
N4 | Broken Hill | Wind | 198.01 | 198.01 | 274.7523 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 290.4852 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 132.3204 | 132.3204 | 132.3204 | 132.3204
N5 | South West NSW | Wind | 0 | 0 | 108.1153 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 983.373 | 983.373 | 983.373
N6 | Wagga Wagga | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N7 | Tumut | Wind | 0 | 40.02 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48
N8 | Cooma-Monaro | Wind | 113.18 | 113.18 | 446.5973 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 453.2756 | 400.3921 | 400.3921 | 404.9163 | 404.9163 | 404.9163 | 427.8331 | 809.5978 | 809.5978 | 818.7418 | 818.7418 | 818.7418 | 818.7418
N9 | Hunter-Central Coast | Wind | 0 | 0 | 456.0962 | 456.0962 | 456.0962 | 456.0962 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 1400 | 1400 | 1400 | 1400 | 1506.7237 | 1506.7237 | 1506.7237 | 1506.7237
N12 | Illawarra | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N10 | Hunter Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N11 | Illawarra Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual As-Generated by REZ ISP [GWh]
REZ | REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
N0 | NSW Non-REZ | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Solar | 450.1532 | 448.0468 | 439.6127 | 428.2434 | 408.536 | 439.2514 | 340.826 | 370.9689 | 393.4899 | 393.627 | 367.4427 | 376.5383 | 356.9142 | 392.8698 | 396.1521 | 388.4885 | 362.4542 | 382.7732 | 371.6684 | 402.0926 | 394.1386 | 373.8421 | 375.9835 | 377.1094 | 368.3354 | 368.6141 | 353.8896 | 352.6619
N2 | New England | Solar | 1234.6438 | 1685.7537 | 1752.663 | 1711.7117 | 2507.6473 | 2380.4256 | 5695.2376 | 6184.0645 | 6756.7379 | 7041.9674 | 6767.8046 | 7663.8653 | 7012.0159 | 7815.1503 | 7748.7035 | 7408.9824 | 7050.3888 | 6837.8447 | 7200.9549 | 8238.3379 | 7243.197 | 10615.3635 | 11207.2477 | 12931.2275 | 12430.9394 | 13283.5133 | 12352.2916 | 13217.0305
N3 | Central-West Orana | Solar | 2669.6159 | 2855.8619 | 2880.8314 | 2804.3647 | 3322.9501 | 6489.51 | 8163.0679 | 8671.1498 | 9758.1808 | 9745.6461 | 9436.453 | 9574.0781 | 12303.3626 | 13442.8659 | 13352.5913 | 12944.2455 | 13835.4503 | 13277.7809 | 14274.6924 | 16397.3038 | 14578.4855 | 15360.9284 | 17138.2063 | 16534.051 | 16296.2262 | 16665.6608 | 15800.0237 | 16692.864
N4 | Broken Hill | Solar | 119.1214 | 133.1829 | 484.801 | 448.7272 | 438.3715 | 474.0365 | 373.6333 | 410.9113 | 417.6126 | 406.752 | 395.4834 | 378.1009 | 363.6894 | 382.3405 | 400.5133 | 430.8748 | 371.1304 | 404.0916 | 378.6794 | 561.0349 | 641.3783 | 619.3728 | 585.9364 | 556.9036 | 556.5482 | 555.3787 | 568.3446 | 547.9409
N5 | South West NSW | Solar | 2297.92 | 2474.01 | 2364.5305 | 3858.2823 | 3816.7714 | 5159.8717 | 4517.144 | 4889.9156 | 5076.53 | 4783.3267 | 4919.6749 | 4832.2105 | 4440.4487 | 4873.702 | 4708.9837 | 4632.2863 | 4457.2775 | 4422.9655 | 6334.069 | 6830.377 | 6640.298 | 6723.6448 | 6593.2747 | 5944.8815 | 6396.9646 | 5891.3573 | 5183.9477 | 5375.6445
N6 | Wagga Wagga | Solar | 1120.8093 | 1683.7252 | 2097.6986 | 1910.4046 | 1930.8131 | 2092.2551 | 1782.585 | 1945.8851 | 2081.0796 | 1915.9054 | 2023.2084 | 2026.9728 | 1945.0202 | 2100.5322 | 2030.481 | 1935.4396 | 1917.4046 | 1824.4787 | 1758.5193 | 2580.5093 | 2507.2177 | 2559.9322 | 2637.2599 | 2355.5161 | 2523.9483 | 2589.3373 | 1855.1354 | 1880.5865
N7 | Tumut | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N8 | Cooma-Monaro | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N9 | Hunter-Central Coast | Solar | 0 | 0 | 1031.2202 | 1006.2942 | 1046.9434 | 1021.3343 | 857.9793 | 907.2861 | 1022.6459 | 1049.7425 | 963.3415 | 1003.9746 | 903.2444 | 1017.0528 | 1001.4587 | 948.6008 | 881.4091 | 890.951 | 929.8951 | 935.1928 | 876.7606 | 831.4904 | 886.6478 | 1115.5238 | 1538.2689 | 1729.7127 | 1634.1219 | 1734.3331
N12 | Illawarra | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N0 | NSW Non-REZ | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N2 | New England | Wind | 1303.3008 | 1106.0131 | 1975.7173 | 2374.9813 | 9350.0362 | 10533.7026 | 13713.5539 | 12739.7914 | 13213.6095 | 12292.3776 | 22803.7979 | 23215.3309 | 22822.449 | 23658.475 | 24169.837 | 23343.7651 | 24607.7628 | 25602.2747 | 24171.5326 | 22122.3747 | 24086.4681 | 21404.4124 | 21906.6882 | 20538.0611 | 21207.7119 | 20968.8233 | 20423.0079 | 21390.2966
N3 | Central-West Orana | Wind | 660.1426 | 1217.3482 | 2684.7154 | 3550.2294 | 12358.7357 | 17885.4399 | 17824.7866 | 16799.1376 | 16973.46 | 16004.4074 | 16942.6819 | 16244.8989 | 15918.0154 | 17084.4881 | 17064.7646 | 17279.8378 | 17055.1832 | 18093.5434 | 17628.187 | 16693.5152 | 17488.9881 | 16181.0043 | 16165.0735 | 15623.452 | 22356.4155 | 21515.8006 | 21095.267 | 22726.6198
N4 | Broken Hill | Wind | 783.6633 | 609.8625 | 913.0768 | 876.1728 | 865.8644 | 964.9497 | 823.3647 | 890.2157 | 861.6064 | 872.9142 | 837.1842 | 827.3818 | 760.4132 | 863.8603 | 904.5586 | 782.6483 | 876.9117 | 843.3097 | 811.763 | 214.8427 | 205.0113 | 204.8002 | 199.9629 | 206.6239 | 278.6791 | 284.5203 | 262.1144 | 284.1065
N5 | South West NSW | Wind | 0 | 0 | 233.6068 | 1481.4644 | 1400.9445 | 1463.8134 | 1297.9733 | 1452.0761 | 1439.8221 | 1528.2561 | 1350.9352 | 1354.4002 | 1377.8378 | 1472.1061 | 1486.951 | 1477.8624 | 1455.6742 | 1468.4586 | 1397.2319 | 1342.9015 | 1308.6373 | 1389.9191 | 1358.4265 | 1441.2065 | 1285.5577 | 2210.6602 | 2238.1172 | 2377.5639
N6 | Wagga Wagga | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N7 | Tumut | Wind | 0 | 201.1894 | 763.3114 | 905.4737 | 904.4179 | 820.0249 | 891.355 | 783.1497 | 781.1279 | 797.8583 | 802.3332 | 798.3938 | 687.2269 | 760.6699 | 819.4923 | 864.4751 | 821.2281 | 891.7336 | 899.4689 | 800.8614 | 865.8625 | 767.5467 | 779.0017 | 802.588 | 779.2817 | 793.6625 | 699.8562 | 726.0299
N8 | Cooma-Monaro | Wind | 368.1403 | 378.947 | 1399.2377 | 1356.6302 | 1360.1682 | 1357.8536 | 1260.613 | 1273.3587 | 1332.5921 | 1385.469 | 1216.0098 | 1305.9722 | 1209.5543 | 1350.6985 | 1330.582 | 1271.5975 | 1223.2754 | 1206.8207 | 1248.6598 | 1156.8119 | 1228.9574 | 1195.1572 | 2408.8106 | 2482.3082 | 2282.5231 | 2478.706 | 2336.9072 | 2507.0192
N9 | Hunter-Central Coast | Wind | 0 | 0 | 1297.8078 | 1284.3893 | 1163.2971 | 1260.1914 | 2704.8335 | 2448.1566 | 2581.4475 | 2412.4353 | 2384.5811 | 2540.8893 | 2381.7273 | 2572.5309 | 2335.3572 | 2545.9065 | 2602.6834 | 2592.4167 | 2454.5104 | 2381.2477 | 3904.6252 | 3283.5049 | 3437.1426 | 3216.7948 | 3439.4759 | 3683.9266 | 3453.3112 | 3727.2726
N12 | Illawarra | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N10 | Hunter Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N11 | Illawarra Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecasted REZ Developments (REZ Forecasts - Existing and Committed Generators). ***This is one of the tables that is copied to the Mapping Tables file***
The table below is calculated by subtracted the capacity of generators currently in the system from the forecast REZ capacity to determine how much additional capacity is expected by AEMO to be developed in each REZ
REZ | REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
N0 | NSW Non-REZ | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Solar | 0 | 0 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 16.6005 | 33.1807 | 33.1807 | 33.1807 | 33.1807 | 36.9707 | 36.9707 | 36.9707 | 52.3531 | 52.3531 | 52.6303 | 118.5003 | 121.2635 | 121.2635 | 121.2635 | 122.4638 | 122.4638
N2 | New England | Solar | 0 | 54.36 | 320 | 320 | 320 | 320 | 2447.2393 | 2447.2393 | 2447.2393 | 2447.2393 | 2447.2393 | 2663.1362 | 2719.36 | 2719.36 | 2719.36 | 2719.36 | 2719.36 | 2719.36 | 2719.36 | 3237.6484 | 3237.6484 | 4862.479 | 4862.479 | 5729.7937 | 5729.7937 | 5729.7937 | 5729.7937 | 5729.7937
N3 | Central-West Orana | Solar | 0 | 0 | 0 | 0 | 0 | 1453.1769 | 2783.1523 | 2783.1523 | 2783.1523 | 2783.1523 | 2783.1523 | 2783.1523 | 4392.6445 | 4392.6445 | 4392.6445 | 4392.6445 | 5078.2434 | 5078.2434 | 5365.9882 | 6120.01 | 6120.01 | 6453.0412 | 6729.0535 | 6729.0535 | 6729.0535 | 6861.96 | 6861.96 | 6861.96
N4 | Broken Hill | Solar | 0 | 0 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 152.7438 | 306.3567 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582
N5 | South West NSW | Solar | 0 | 0 | 0 | 666.6552 | 666.6552 | 1136.3325 | 1135.4325 | 1135.4325 | 1135.4325 | 1135.4325 | 1135.4325 | 1135.4325 | 1135.4325 | 1135.4325 | 985.4025 | 985.4025 | 985.4025 | 985.4025 | 2020.97 | 2020.97 | 2094.7513 | 2094.7513 | 2020.97 | 2020.97 | 2020.97 | 1888.31 | 1888.31 | 1888.31
N6 | Wagga Wagga | Solar | 0 | 0 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 118.4919 | 478.14 | 478.14 | 478.14 | 478.14 | 478.14 | 478.14 | 478.14 | 828.12 | 828.12
N7 | Tumut | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N8 | Cooma-Monaro | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N9 | Hunter-Central Coast | Solar | 0 | 0 | 504.7616 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 660.934 | 937.0757 | 991.3857 | 991.3857 | 991.3857
N12 | Illawarra | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N0 | NSW Non-REZ | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N2 | New England | Wind | 0 | 0 | 339.4925 | 663.7775 | 2511.5888 | 2946.1414 | 3994.2667 | 3994.2667 | 3994.2667 | 3994.2667 | 7137.2329 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400 | 7400
N3 | Central-West Orana | Wind | 0 | 138 | 799.9563 | 1214 | 3875.1513 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 5859.9408 | 8218.5325 | 8218.5325 | 8218.5325 | 8218.5325
N4 | Broken Hill | Wind | 0 | 0 | 76.7423 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 92.4752 | 132.3204 | 132.3204 | 132.3204 | 132.3204
N5 | South West NSW | Wind | 0 | 0 | 108.1153 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 601.0275 | 983.373 | 983.373 | 983.373
N6 | Wagga Wagga | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N7 | Tumut | Wind | 0 | 40.02 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48 | 270.48
N8 | Cooma-Monaro | Wind | 0 | 0 | 333.4173 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 340.0956 | 400.3921 | 400.3921 | 404.9163 | 404.9163 | 404.9163 | 427.8331 | 809.5978 | 809.5978 | 818.7418 | 818.7418 | 818.7418 | 818.7418
N9 | Hunter-Central Coast | Wind | 0 | 0 | 456.0962 | 456.0962 | 456.0962 | 456.0962 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 977.6573 | 1400 | 1400 | 1400 | 1400 | 1506.7237 | 1506.7237 | 1506.7237 | 1506.7237
N12 | Illawarra | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N10 | Hunter Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N11 | Illawarra Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N0 | NSW Non-REZ | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Solar | 166 | 166 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 182.6005 | 199.1807 | 199.1807 | 199.1807 | 199.1807 | 202.9707 | 202.9707 | 202.9707 | 218.3531 | 218.3531 | 218.6303 | 228.5003 | 231.2635 | 231.2635 | 231.2635 | 232.4638 | 232.4638
N2 | New England | Solar | 535.02 | 855.02 | 1120.66 | 1120.66 | 1120.66 | 1120.66 | 3247.8993 | 3247.8993 | 3247.8993 | 3247.8993 | 3247.8993 | 3463.7962 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 3520.02 | 4018.3084 | 4018.3084 | 5643.139 | 5643.139 | 6510.4537 | 6510.4537 | 6510.4537 | 6510.4537 | 6510.4537
N3 | Central-West Orana | Solar | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 2949.1669 | 4279.1423 | 4279.1423 | 4279.1423 | 4279.1423 | 4279.1423 | 4279.1423 | 5888.6345 | 5888.6345 | 5888.6345 | 5888.6345 | 6574.2334 | 6574.2334 | 6759.9582 | 7513.98 | 7513.98 | 7811.0012 | 8087.0135 | 8087.0135 | 8040.3135 | 7981.58 | 7911.83 | 7741.95
N4 | Broken Hill | Solar | 53 | 53 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 205.7438 | 306.3567 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582 | 388.3582
N5 | South West NSW | Solar | 1121.32 | 1121.32 | 1121.32 | 1787.9752 | 1787.9752 | 2257.6525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2256.7525 | 2106.7225 | 2106.7225 | 2106.7225 | 2106.7225 | 3142.29 | 3142.29 | 3216.0713 | 3216.0713 | 3142.29 | 3142.29 | 3142.29 | 2809.95 | 2560.96 | 2530.96
N6 | Wagga Wagga | Solar | 456.22 | 816.1 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 934.5919 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1294.24 | 1118 | 1118
N7 | Tumut | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N8 | Cooma-Monaro | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N9 | Hunter-Central Coast | Solar | 0 | 0 | 504.7616 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 516 | 660.934 | 937.0757 | 991.3857 | 991.3857 | 991.3857
N12 | Illawarra | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N0 | NSW Non-REZ | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N1 | North West NSW | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N2 | New England | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N3 | Central-West Orana | Solar | 0 | 0 | 1.76e-06 | 7.62e-06 | 7.62e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N4 | Broken Hill | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N5 | South West NSW | Solar | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65 | 642.65
N6 | Wagga Wagga | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N7 | Tumut | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N8 | Cooma-Monaro | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N9 | Hunter-Central Coast | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
N12 | Illawarra | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Generation Capacity (Winter)
Generation Capacity By Year (Winter Ratings)
The table below includes the capacity of the current and committed renewable generators in NSW. Data from this table has been taken from AEMO's Generation Information.
All values are stated in terms of MW. ***This table is copied into the mapping table spreadsheet ***
Generator Site | REZ Location | Type | Initial ISP Listed Capacity [MW] | ISP Listed Capacity [MW] | FY Initial Capacity Release | FY Expected Commencement | FY Expected Retirement | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51 | 2051-52
Avonlie Solar Farm | Wagga Wagga | Solar |  | 189.98 |  | Commenced | 2058 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98 | 189.98
Bango 973 Wind Farm | Non REZ | Wind |  | 159 |  | Commenced | 2045 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bango 999 Wind Farm | Non REZ | Wind |  | 84.8 |  | Commenced | 2045 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 84.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Beryl Solar Farm | Central-West Orana | Solar |  | 87 |  | Commenced | 2049 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 0 | 0 | 0
Boco Rock Wind Farm | Cooma-Monaro | Wind |  | 113.18 |  | Commenced | 2040 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bodangora Wind Farm | Central-West Orana | Wind |  | 113.19 |  | Commenced | 2049 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 0 | 0 | 0
Bomen Solar Farm | Wagga Wagga | Solar |  | 99.88 |  | Commenced | 2050 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 99.88 | 0 | 0
Broken Hill Solar Farm | Broken Hill | Solar |  | 53 |  | Commenced | 2043 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Wind Farm | Non REZ | Wind |  | 140.7 |  | Commenced | 2040 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 140.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Coleambally Solar Farm | Non REZ | Solar |  | 150.03 |  | Commenced | 2053 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03 | 150.03
Collector Wind Farm | Non REZ | Wind |  | 218.7 |  | Commenced | 2046 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 218.7 | 0 | 0 | 0 | 0 | 0 | 0
Corowa Solar Farm | South West NSW | Solar |  | 30 |  | Commenced | 2051 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0
Crookwell 2 Wind Farm | Non REZ | Wind |  | 91 |  | Commenced | 2043 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Crookwell 3 Wind Farm | Non REZ | Wind |  | 57.6 |  | Commenced | 2054 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6
Crudine Ridge Wind Farm | Non REZ | Wind |  | 138.01 |  | Commenced | 2041 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 138.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Culcairn Solar Farm | Wagga Wagga | Solar |  | 349.98 |  | 2025 | 2050 | 0 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 349.98 | 0 | 0
Cullerin Range Wind Farm | Non REZ | Wind |  | 30 |  | Commenced | 2038 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Darlington Point Solar Farm | Non REZ | Solar |  | 274.96 |  | Commenced | 2055 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96 | 274.96
Finley Solar Farm | Non REZ | Solar |  | 132.66 |  | Commenced | 2049 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 132.66 | 0 | 0 | 0
Flyers Creek Wind Farm | Central-West Orana | Wind |  | 145.54 |  | Commenced | 2063 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54 | 145.54
Goonumbla Solar Farm | Central-West Orana | Solar |  | 69.75 |  | Commenced | 2050 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 69.75 | 0 | 0
Gullen Range Solar Farm | Non REZ | Solar |  | 10 |  | Commenced | 2100 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Gullen Range Wind Farm | Non REZ | Wind |  | 165.5 |  | Commenced | 2100 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5
Gullen Range Wind Farm 2 | Non REZ | Wind |  | 110.67 |  | Commenced | 2120 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67 | 110.67
Gunnedah Solar Farm | North West NSW | Solar |  | 110 |  | Commenced | 2056 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110
Gunning Wind Farm | Non REZ | Wind |  | 46.5 |  | Commenced | 2036 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hillston Sun Farm | Non REZ | Solar |  | 85 |  | Commenced | 2053 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Jemalong Solar | Non REZ | Solar |  | 50 |  | Commenced | 2050 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0
Junee Solar Farm | Wagga Wagga | Solar |  | 30 |  | Commenced | 2050 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 0 | 0
Limondale Solar Farm 1 | South West NSW | Solar |  | 220 |  | Commenced | 2050 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 0 | 0
Limondale Solar Farm 2 | South West NSW | Solar |  | 28.99 |  | Commenced | 2050 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 28.99 | 0 | 0
Lockhart Hybrid Facility - Solar | Wagga Wagga | Solar |  | 9.9 |  | 2025 | 2055 | 0 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9 | 9.9
Manildra Solar Farm | Central-West Orana | Solar |  | 46.7 |  | Commenced | 2048 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 0 | 0 | 0 | 0
Metz Solar Farm | New England | Solar |  | 115.02 |  | Commenced | 2052 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02 | 115.02
Molong Solar Farm | Central-West Orana | Solar |  | 36.01 |  | Commenced | 2045 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 36.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moree Solar Farm | North West NSW | Solar |  | 56 |  | Commenced | 2046 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 0 | 0 | 0 | 0 | 0 | 0
Nevertire Solar Farm | Central-West Orana | Solar |  | 104.64 |  | Commenced | 2049 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 104.64 | 0 | 0 | 0
New England Solar Farm | New England | Solar |  | 400 |  | Commenced | 2052 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
Nyngan Solar Plant | Central-West Orana | Solar |  | 102.02 |  | Commenced | 2042 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 102.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Parkes Solar Farm | Non REZ | Solar |  | 50.5 |  | Commenced | 2058 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5 | 50.5
Quorn Park Solar Farm | Non REZ | Solar |  | 79.86 |  | Commenced | 2055 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86 | 79.86
Rye Park Wind Farm | Non REZ | Wind |  | 386.1 |  | Commenced | 2048 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 386.1 | 0 | 0 | 0 | 0
Sapphire Wind Farm | New England | Wind |  | 270 |  | Commenced | 2043 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Riverina Solar Farm | Non REZ | Solar |  | 32.4 |  | Commenced | 2047 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 32.4 | 0 | 0 | 0 | 0 | 0
Silverton Wind Farm | Broken Hill | Wind |  | 198.01 |  | Commenced | 2043 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sebastopol Solar Farm | Wagga Wagga | Solar |  | 90 |  | Commenced | 2052 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
Stubbo Solar Farm | Central-West Orana | Solar |  | 400 |  | Commenced | 2073 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
Sunraysia Solar Farm | South West NSW | Solar |  | 199.68 |  | Commenced | 2049 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 199.68 | 0 | 0 | 0
Taralga Wind Farm | Non REZ | Wind |  | 106.8 |  | Commenced | 2040 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Suntop Solar Farm | Central-West Orana | Solar |  | 150 |  | Commenced | 2056 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Tamworth Solar Farm | New England | Solar |  | 65 |  | 2025 | 2053 | 0 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
Tilbuster Solar Farm | New England | Solar |  | 200.64 |  | 2025 | 2055 | 0 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64 | 200.64
Wagga North Solar Farm | Wagga Wagga | Solar |  | 46.36 |  | Commenced | 2050 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 0 | 0
Walla Walla Solar Farm | Non REZ | Solar |  | 299.52 |  | Commenced | 2054 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52 | 299.52
Wellington North Solar Farm (Lightsource) | Central-West Orana | Solar |  | 329.99 |  | Commenced | 2054 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99 | 329.99
White Rock Wind Farm - Stage 1 | New England | Wind |  | 172.48 |  | Commenced | 2038 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 172.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wellington Solar Farm | Central-West Orana | Solar |  | 169.88 |  | Commenced | 2051 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 169.88 | 0
Woodlawn Wind Farm | Non REZ | Wind |  | 48.3 |  | Commenced | 2041 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
West Wyalong Solar Farm | Non REZ | Solar |  | 90.01 |  | Commenced | 2058 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01 | 90.01
White Rock Solar Farm | New England | Solar |  | 20 |  | Commenced | 2043 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wollar Solar Farm | Non REZ | Solar |  | 280 |  | Commenced | 2054 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280 | 280
Wyalong Solar Farm | Non REZ | Solar |  | 53.01 |  | 2025 | 2053 | 0 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01 | 53.01

## Capacity by Year and REZ
Capacity by Year and REZ
Below is a pivot table linking to the 'Generation Capacity by Year' sheet. This sums up the amount of capacity expected in each REZ in each year that is made up of existing generators and comitted generators.
Row Labels | Sum of 2024-25 | Sum of 2025-26 | Sum of 2026-27 | Sum of 2027-28 | Sum of 2028-29 | Sum of 2029-30 | Sum of 2030-31 | Sum of 2031-32 | Sum of 2032-33 | Sum of 2033-34 | Sum of 2034-35 | Sum of 2035-36 | Sum of 2036-37 | Sum of 2037-38 | Sum of 2038-39 | Sum of 2039-40 | Sum of 2040-41 | Sum of 2041-42 | Sum of 2042-43 | Sum of 2043-44 | Sum of 2044-45 | Sum of 2045-46 | Sum of 2046-47 | Sum of 2047-48 | Sum of 2048-49 | Sum of 2049-50 | Sum of 2050-51 | Sum of 2051-52
Broken Hill | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 251.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Central-West Orana | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1754.72 | 1652.7 | 1652.7 | 1652.7 | 1616.69 | 1616.69 | 1616.69 | 1569.99 | 1265.16 | 1195.41 | 1025.53
Solar | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1393.97 | 1393.97 | 1393.97 | 1357.96 | 1357.96 | 1357.96 | 1311.26 | 1119.62 | 1049.87 | 879.99
Wind | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 145.54 | 145.54 | 145.54
Cooma-Monaro | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New England | 977.5 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1243.14 | 1070.66 | 1070.66 | 1070.66 | 1070.66 | 1070.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66
Solar | 535.02 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66
Wind | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 270 | 270 | 270 | 270 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non REZ | 3270.32 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3371.63 | 3325.13 | 3325.13 | 3295.13 | 3295.13 | 3047.63 | 2861.32 | 2861.32 | 2620.29 | 2620.29 | 2376.49 | 2072.79 | 2040.39 | 1654.29 | 1521.63 | 1471.63 | 1471.63
Solar | 1534.94 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1587.95 | 1437.92 | 1437.92 | 1437.92 | 1352.92 | 1320.52 | 1320.52 | 1187.86 | 1137.86 | 1137.86
Wind | 1735.38 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1783.68 | 1737.18 | 1737.18 | 1707.18 | 1707.18 | 1459.68 | 1273.37 | 1273.37 | 1182.37 | 1182.37 | 938.57 | 719.87 | 719.87 | 333.77 | 333.77 | 333.77 | 333.77
North West NSW | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 110 | 110 | 110 | 110 | 110 | 110
Solar | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 110 | 110 | 110 | 110 | 110 | 110
South West NSW | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 278.99 | 30 | 0
Solar | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 278.99 | 30 | 0
Wagga Wagga | 456.22 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 289.88 | 289.88
Solar | 456.22 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 289.88 | 289.88
Grand Total | 7467.62 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8194.45 | 8147.95 | 8147.95 | 7945.47 | 7945.47 | 7584.79 | 7398.48 | 7296.46 | 6514.42 | 6514.42 | 6234.61 | 5874.91 | 5842.51 | 5409.71 | 4772.54 | 3877.58 | 3677.7
Table manually created by copying the values above into the relevant entries. This displays the amount of generation in each REZ that is consistent of current and comitted generators.
REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
NSW Non-REZ | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North West NSW | Solar | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 110 | 110 | 110 | 110 | 110 | 110
New England | Solar | 535.02 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 800.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66 | 780.66
Central-West Orana | Solar | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1495.99 | 1393.97 | 1393.97 | 1393.97 | 1357.96 | 1357.96 | 1357.96 | 1311.26 | 1119.62 | 1049.87 | 879.99
Broken Hill | Solar | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South West NSW | Solar | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 478.67 | 278.99 | 30 | 0
Wagga Wagga | Solar | 456.22 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 816.1 | 289.88 | 289.88
Tumut | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooma-Monaro | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hunter-Central Coast | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Illawarra | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NSW Non-REZ | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
North West NSW | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New England | Wind | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 442.48 | 270 | 270 | 270 | 270 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Central-West Orana | Wind | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 258.73 | 145.54 | 145.54 | 145.54
Broken Hill | Wind | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 198.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South West NSW | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wagga Wagga | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tumut | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooma-Monaro | Wind | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hunter-Central Coast | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Illawarra | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hunter Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Illawarra Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0