## REZ Forecasts Data
REZ Forecast Data
The first two tables have been extracted from AEMO's 2024 ISP step change workbook for SA.
Installed Generator Capacity by REZ ISP (MW) |  |  |  | Some values have been rounded as there was a difference of around 0.01MW in some cases. I believe this is due to rounding issues.
REZ | REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
S1 | South East SA | Solar | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 87 | 87 | 87
S2 | Riverland | Solar | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 190.4327 | 190.4327 | 190.4327 | 190.4327 | 977.4622 | 965.7422 | 988.5928 | 1195.0151 | 1555.5272 | 1548.1572 | 1548.1572 | 1548.1572 | 1548.1572 | 1548.1572 | 1548.1572 | 1548.1572
S3 | Mid-North SA | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4 | Yorke Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S5 | Northern SA | Solar | 298.44 | 298.44 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 592.4396 | 990.8516 | 3003.766 | 3003.766 | 3003.766 | 2924.566 | 2924.566 | 2924.566 | 2924.566 | 2924.566
S6 | Leigh Creek | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S7 | Roxby Downs | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 515.6883 | 515.6883 | 515.6883 | 515.6883 | 515.6883 | 515.6883 | 589.2307 | 589.2307 | 589.2307 | 589.2307 | 626.696 | 626.696 | 626.696 | 626.696 | 642.1301 | 642.1301 | 642.1301 | 642.1301 | 642.1301 | 642.1301 | 646.1421 | 646.1421
S8 | Eastern Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S9 | Western Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1 | South East SA | Wind | 324.5 | 324.5 | 324.5 | 341.653 | 341.653 | 341.653 | 341.653 | 341.653 | 401.6495 | 401.6495 | 445.8879 | 397.2457 | 397.2457 | 397.2457 | 238.2457 | 238.2457 | 481.3648 | 481.3648 | 481.3648 | 481.3648 | 481.3648 | 924.1784 | 924.1784 | 924.1784 | 924.1784 | 924.1784 | 924.1784 | 924.1784
S2 | Riverland | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S3 | Mid-North SA | Wind | 1591.417 | 1731.61 | 1803.2115 | 2002.4622 | 2149.2033 | 2931.6 | 2931.6 | 2931.6 | 3057.0601 | 3194.9767 | 3194.9767 | 3123.5767 | 2939.0967 | 2939.0967 | 2939.0967 | 2612.3967 | 2838.1857 | 2838.1857 | 3129.2654 | 2942.242 | 2942.242 | 3605.5946 | 3722.4897 | 3722.4897 | 4118.8405 | 3923.1505 | 3923.1505 | 3923.1505
S4 | Yorke Peninsula | Wind | 90.75 | 90.75 | 90.75 | 112.3963 | 118.8429 | 59.1107 | 59.1107 | 59.1107 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311
S5 | Northern SA | Wind | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 210 | 210 | 210 | 210 | 210 | 210 | 210
S6 | Leigh Creek | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S7 | Roxby Downs | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S8 | Eastern Eyre Peninsula | Wind | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 378.1098 | 353.3612 | 353.3612 | 353.3612 | 360.9103 | 360.9103 | 333.8337 | 333.8337 | 333.8337 | 333.8337 | 333.8337 | 334.6503 | 334.6503 | 334.6503 | 334.6503 | 334.6503 | 339.2934 | 339.2934 | 339.2934 | 339.2934 | 339.2934 | 339.2934 | 339.2934
S9 | Western Eyre Peninsula | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S10 | South East SA Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual As-Generated by REZ ISP [GWh]
REZ | REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
S1 | South East SA | Solar | 385.3015 | 405.3896 | 402.8036 | 402.8486 | 402.6498 | 333.5413 | 315.9612 | 377.6788 | 379.0161 | 352.7724 | 343.8886 | 334.8056 | 308.88 | 315.0524 | 350.9497 | 347.453 | 321.6204 | 295.0936 | 271.3705 | 273.5557 | 235.8749 | 231.6895 | 222.5583 | 206.4628 | 227.0087 | 120.308 | 119.1607 | 111.9342
S2 | Riverland | Solar | 102.7215 | 100.7792 | 96.1793 | 98.0879 | 95.6942 | 81.7141 | 78.1727 | 76.3504 | 77.8843 | 72.7922 | 74.0979 | 74.0758 | 307.8476 | 320.6287 | 341.8287 | 346.4379 | 1623.8624 | 1744.7824 | 1649.7388 | 1970.3095 | 2023.4026 | 1894.7863 | 1757.2413 | 1700.9864 | 1789.2587 | 1846.2005 | 1855.2532 | 1699.7782
S3 | Mid-North SA | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4 | Yorke Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S5 | Northern SA | Solar | 637.8923 | 716.9758 | 1289.979 | 1291.2498 | 1303.1539 | 1013.709 | 1079.7954 | 1148.7864 | 1154.46 | 1143.9279 | 1171.9334 | 1160.386 | 1090.1238 | 1158.9861 | 1208.3593 | 1249.2849 | 1113.9322 | 1174.6387 | 1173.1664 | 1948.8882 | 5098.5385 | 4809.3771 | 4631.381 | 4256.4865 | 4532.1072 | 4601.8669 | 4453.4299 | 4173.8403
S6 | Leigh Creek | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S7 | Roxby Downs | Solar | 0 | 0 | 8.867e-06 | 9.6136e-06 | 1.7474e-05 | 3.2356e-05 | 978.3545 | 1055.2292 | 1059.8704 | 1031.6328 | 1021.6447 | 1013.9633 | 1064.0072 | 1130.256 | 1184.8228 | 1230.2728 | 1122.787 | 1198.4194 | 1172.7363 | 1129.0724 | 995.4303 | 923.4866 | 880.1665 | 854.948 | 882.2598 | 889.5444 | 937.8547 | 851.8193
S8 | Eastern Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S9 | Western Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1 | South East SA | Wind | 759.3095 | 818.9694 | 722.076 | 854.6109 | 762.6923 | 717.1575 | 690.7889 | 748.4793 | 885.7797 | 980.6866 | 1037.3689 | 987.9173 | 932.8219 | 1045.8979 | 684.4495 | 693.578 | 1337.6095 | 1489.3471 | 1408.5506 | 1349.2848 | 1302.8649 | 2572.6453 | 2388.3477 | 2640.9471 | 2369.3743 | 2475.7507 | 2337.6834 | 2520.8957
S2 | Riverland | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S3 | Mid-North SA | Wind | 5233.2727 | 5449.6991 | 5474.2645 | 6456.5043 | 6705.8289 | 8198.5634 | 8226.4431 | 8906.8115 | 9021.9777 | 10136.7603 | 8986.6448 | 9132.4147 | 7931.6586 | 9301.8463 | 9350.6174 | 7871.8554 | 8044.9086 | 8711.5626 | 9370.5569 | 8138.5507 | 7874.152 | 9833.694 | 9778.0282 | 10629.9648 | 10435.463 | 10554.9191 | 9820.6425 | 11171.8269
S4 | Yorke Peninsula | Wind | 228.362 | 238.0963 | 239.6721 | 316.0014 | 310.9544 | 165.9083 | 138.6633 | 152.6128 | 283.7374 | 324.6777 | 280.574 | 297.8083 | 260.3742 | 312.2724 | 306.5704 | 295.5958 | 282.2787 | 316.0455 | 301.4249 | 281.7016 | 278.3908 | 264.9458 | 248.2234 | 278.8076 | 241.2809 | 273.0562 | 245.3734 | 267.4258
S5 | Northern SA | Wind | 1295.0447 | 1340.4382 | 1315.1094 | 1360.6398 | 1294.0318 | 1151.613 | 1083.9592 | 1194.877 | 1227.9382 | 1291.1407 | 1180.0038 | 1222.5413 | 1154.1288 | 1285.559 | 1327.9256 | 1275.338 | 1250.6354 | 1315.5964 | 1221.4834 | 1179.8484 | 1096.1031 | 501.7911 | 507.7239 | 526.7773 | 484.2138 | 521.8214 | 494.6644 | 529.9459
S6 | Leigh Creek | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S7 | Roxby Downs | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S8 | Eastern Eyre Peninsula | Wind | 319.3728 | 292.2421 | 304.0612 | 329.7695 | 329.3281 | 1043.2277 | 901.9461 | 962.1124 | 934.2162 | 1097.3067 | 959.2753 | 941.4972 | 846.6019 | 1006.835 | 984.724 | 956.8692 | 961.3957 | 1022.2395 | 964.4293 | 924.3005 | 887.0936 | 877.0344 | 844.6236 | 951.1264 | 829.8254 | 875.5011 | 794.0736 | 893.3295
S9 | Western Eyre Peninsula | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S10 | South East SA Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecasted REZ Developments (REZ Forecasts - Existing and Committed Generators). ***This is one of the tables that is copied to the Mapping Tables file***
The table below is calculated by subtracted the capacity of generators currently in the system from the forecast REZ capacity to determine how much additional capacity is expected by AEMO to be developed in each REZ
REZ | REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
S1 | South East SA | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S2 | Riverland | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 141.3557 | 141.3557 | 141.3557 | 141.3557 | 928.3852 | 928.3852 | 951.2358 | 1157.6581 | 1518.1702 | 1518.1712 | 1518.1712 | 1518.1712 | 1518.1712 | 1518.1712 | 1518.1712 | 1518.1712
S3 | Mid-North SA | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4 | Yorke Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S5 | Northern SA | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.2396 | 412.6516 | 2644.806 | 2644.806 | 2644.806 | 2644.806 | 2644.806 | 2644.806 | 2644.806 | 2644.806
S6 | Leigh Creek | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S7 | Roxby Downs | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 515.6883 | 515.6883 | 515.6883 | 515.6883 | 515.6883 | 515.6883 | 589.2307 | 589.2307 | 589.2307 | 589.2307 | 626.696 | 626.696 | 626.696 | 626.696 | 642.1301 | 642.1301 | 642.1301 | 642.1301 | 642.1301 | 642.1301 | 646.1421 | 646.1421
S8 | Eastern Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S9 | Western Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1 | South East SA | Wind | 0 | 0 | 0 | 17.153 | 17.153 | 17.153 | 17.153 | 17.153 | 77.1495 | 77.1495 | 121.3879 | 199.2457 | 199.2457 | 199.2457 | 199.2457 | 199.2457 | 481.3648 | 481.3648 | 481.3648 | 481.3648 | 481.3648 | 924.1784 | 924.1784 | 924.1784 | 924.1784 | 924.1784 | 924.1784 | 924.1784
S2 | Riverland | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S3 | Mid-North SA | Wind | 0 | 0 | 71.6015 | 270.8522 | 417.5933 | 1199.99 | 1199.99 | 1199.99 | 1325.4501 | 1562.0667 | 1562.0667 | 1562.0667 | 1562.0717 | 1562.0717 | 1562.0717 | 1562.0717 | 1787.8607 | 1787.8607 | 2078.9404 | 2105.777 | 2105.777 | 2880.1296 | 2997.0247 | 2997.0247 | 3594.3575 | 3594.3605 | 3594.3605 | 3614.1605
S4 | Yorke Peninsula | Wind | 0 | 0 | 0 | 21.6463 | 28.0929 | 59.1107 | 59.1107 | 59.1107 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311 | 115.6311
S5 | Northern SA | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S6 | Leigh Creek | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S7 | Roxby Downs | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S8 | Eastern Eyre Peninsula | Wind | 0 | 0 | 0 | 0 | 0 | 243.8298 | 281.0812 | 281.0812 | 281.0812 | 288.6303 | 288.6303 | 333.8337 | 333.8337 | 333.8337 | 333.8337 | 333.8337 | 334.6503 | 334.6503 | 334.6503 | 334.6503 | 334.6503 | 339.2934 | 339.2934 | 339.2934 | 339.2934 | 339.2934 | 339.2934 | 339.2934
S9 | Western Eyre Peninsula | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S10 | South East SA Coast | Offshore Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Seasonal Ratings
Seasonal Ratings
As per generation information and ISAR. Note that some sites do not have their full capacities during the FY24-25. These are reflected in the individual spreadsheets.
Generator Site | REZ Location | Type | Winter Rating | Summer | Peak | Average Summer and Winter
Adelaide Desalination Plant | Non REZ | Solar | 11 | 10.56 | 10.34 | 10.78
Bolivar Waste Water Treatment | Non REZ | Solar | 11.25 | 10.8 | 10.575 | 11.025
Bungala One Solar Farm | Northern SA | Solar | 109.62 | 109.62 | 104.76 | 109.62
Bungala Two Solar Farm | Northern SA | Solar | 109.62 | 109.62 | 104.76 | 109.62
Canunda | South East SA | Wind | 46 | 46 | 0 | 46
Cathedral Rocks | Eastern Eyre Peninsula | Wind | 62 | 62 | 0 | 62
Clements Gap Wind Farm | Mid-North SA | Wind | 56.7 | 56.7 | 0 | 56.7
Cultana Solar Farm | Northern SA | Solar | 279.76 | 279.76 | 0 | 279.76
Goyder South Wind Farm 1A | Mid-North SA | Wind | 200.982 | 200.982 | 200.982 | 200.982
Goyder South Wind Farm 1B | Mid-North SA | Wind | 195.693 | 195.693 | 195.693 | 195.693
Hallett 4 North Brown Hill | Mid-North SA | Wind | 131.985 | 131.985 | 88.2 | 131.985
Hallett 5 The Bluff WF | Mid-North SA | Wind | 52.5 | 52.5 | 35 | 52.5
Hallett Stage 1 Brown Hill | Mid-North SA | Wind | 94.5 | 94.5 | 63 | 94.5
Hallett Stage 2 Hallett Hill | Mid-North SA | Wind | 71.4 | 71.4 | 47.6 | 71.4
Happy Valley Reservoir | Non REZ | Solar | 8.328 | 7.992 | 7.827 | 8.16
Hornsdale Wind Farm Stage 1 | Mid-North SA | Wind | 100 | 100 | 100 | 100
Hornsdale Wind Farm Stage 2 | Mid-North SA | Wind | 100 | 100 | 100 | 100
Hornsdale Wind Farm Stage 3 | Mid-North SA | Wind | 108.99 | 108.99 | 108.99 | 108.99
Lake Bonney 1 Wind Farm | South East SA | Wind | 80.5 | 80.5 | 80.5 | 80.5
Lake Bonney 2 Wind Farm | South East SA | Wind | 159 | 159 | 159 | 159
Lake Bonney 3 Wind Farm | South East SA | Wind | 39 | 39 | 39 | 39
Lincoln Gap Wind Farm - stage 1 | Northern SA | Wind | 122.5 | 122.5 | 42 | 122.5
Lincoln Gap Wind Farm - Stage 2 | Northern SA | Wind | 84 | 84 | 38.4 | 84
Mannum Adelaide Pumping Station No 2 - MAPL2 (Palmer) | South East SA | Solar | 16.8 | 16.128 | 15.792 | 16.464
Mannum Adelaide Pumping Station No 3 - MAPL3 (Tungkillo) | South East SA | Solar | 12.36 | 11.88 | 11.64 | 12.12
Mannum Solar Farm 2 | Riverland | Solar | 29.986 | 29.986 | 29.986 | 29.986
Morgan To Whyalla Pipeline No 1 PS And Water Filtration Plant | Riverland | Solar | 6.128 | 5.882 | 5.76 | 6.005
Morgan To Whyalla Pipeline No 2 PS | Riverland | Solar | 5.86 | 5.626 | 5.508 | 5.743
Morgan To Whyalla Pipeline No 3 PS | Riverland | Solar | 7.371 | 7.077 | 6.93 | 7.224
Morgan To Whyalla Pipeline No 4 PS | Riverland | Solar | 5.86 | 5.626 | 5.508 | 5.743
Mt Millar Wind Farm | Eastern Eyre Peninsula | Wind | 72.28 | 72.28 | 72.28 | 72.28
Murray Bridge - Onkaparinga Pipeline Pump 2 | South East SA | Solar | 13.746 | 13.194 | 12.918 | 13.47
Port Augusta Renewable Energy Park - Solar | Northern SA | Solar | 79.2 | 79.2 | 79.2 | 79.2
Port Augusta Renewable Energy Park - Wind | Northern SA | Wind | 210 | 210 | 210 | 210
Snowtown S2 Wind Farm North | Mid-North SA | Wind | 144 | 144 | 133.2 | 144
Snowtown S2 Wind Farm South | Mid-North SA | Wind | 126 | 126 | 116.55 | 126
Snowtown Wind Farm | Mid-North SA | Wind | 98.7 | 98.7 | 65.8 | 98.7
Starfish Hill | Non REZ | Wind | 33 | 33 | 33 | 33
Tailem Bend - Solar | South East SA | Solar | 41.5 | 41.5 | 40.45 | 41.5
Tailem Bend Stage 2 Solar Project | South East SA | Solar | 87 | 87 | 87 | 87
Waterloo Wind Farm (38-43) | Mid-North SA | Wind | 111 | 111 | 0 | 111
Waterloo Wind Farm (1-37) | Mid-North SA | Wind | 19.8 | 18.9 | 9 | 19.35
Wattle Point | Yorke Peninsula | Wind | 90.75 | 90.75 | 90.75 | 90.75
Willogoleche Wind Farm | Mid-North SA | Wind | 119.36 | 119.36 | 0 | 119.36
Generator Site | REZ Location | Type | Winter Rating | Summer | Peak | FY Expected Retirement
Adelaide Desalination Plant | Non REZ | Solar | 11 | 10.56 | 10.34 | 2041
Bolivar Waste Water Treatment | Non REZ | Solar | 11.25 | 10.8 | 10.575 | 2045
Bungala One Solar Farm | Northern SA | Solar | 109.62 | 109.62 | 104.76 | 2044
Bungala Two Solar Farm | Northern SA | Solar | 109.62 | 109.62 | 104.76 | 2044
Canunda | South East SA | Wind | 46 | 46 | 0 | 2035
Cathedral Rocks | Eastern Eyre Peninsula | Wind | 62 | 62 | 0 | 2030
Clements Gap Wind Farm | Mid-North SA | Wind | 56.7 | 56.7 | 0 | 2039
Cultana Solar Farm | Northern SA | Solar | 279.76 | 279.76 | 0 | 2055
Goyder South Wind Farm 1A | Mid-North SA | Wind | 200.982 | 200.982 | 200.982 | 2048
Goyder South Wind Farm 1B | Mid-North SA | Wind | 195.693 | 195.693 | 195.693 | 2049
Hallett 4 North Brown Hill | Mid-North SA | Wind | 131.985 | 131.985 | 88.2 | 2036
Hallett 5 The Bluff WF | Mid-North SA | Wind | 52.5 | 52.5 | 35 | 2036
Hallett Stage 1 Brown Hill | Mid-North SA | Wind | 94.5 | 94.5 | 63 | 2043
Hallett Stage 2 Hallett Hill | Mid-North SA | Wind | 71.4 | 71.4 | 47.6 | 2035
Happy Valley Reservoir | Non REZ | Solar | 8.328 | 7.992 | 7.827 | 2041
Hornsdale Wind Farm Stage 1 | Mid-North SA | Wind | 100 | 100 | 100 | 2056
Hornsdale Wind Farm Stage 2 | Mid-North SA | Wind | 100 | 100 | 100 | 2057
Hornsdale Wind Farm Stage 3 | Mid-North SA | Wind | 108.99 | 108.99 | 108.99 | 2057
Lake Bonney 1 Wind Farm | South East SA | Wind | 80.5 | 80.5 | 80.5 | 2035
Lake Bonney 2 Wind Farm | South East SA | Wind | 159 | 159 | 159 | 2038
Lake Bonney 3 Wind Farm | South East SA | Wind | 39 | 39 | 39 | 2040
Lincoln Gap Wind Farm - stage 1 | Northern SA | Wind | 122.5 | 122.5 | 42 | 2045
Lincoln Gap Wind Farm - Stage 2 | Northern SA | Wind | 84 | 84 | 38.4 | 2045
Mannum Adelaide Pumping Station No 2 - MAPL2 (Palmer) | South East SA | Solar | 16.8 | 16.128 | 15.792 | 2041
Mannum Adelaide Pumping Station No 3 - MAPL3 (Tungkillo) | South East SA | Solar | 12.36 | 11.88 | 11.64 | 2041
Mannum Solar Farm 2 | Riverland | Solar | 29.986 | 29.986 | 29.986 | 2058
Morgan To Whyalla Pipeline No 1 PS And Water Filtration Plant | Riverland | Solar | 6.128 | 5.882 | 5.76 | 2031
Morgan To Whyalla Pipeline No 2 PS | Riverland | Solar | 5.86 | 5.626 | 5.508 | 2041
Morgan To Whyalla Pipeline No 3 PS | Riverland | Solar | 7.371 | 7.077 | 6.93 | 2045
Morgan To Whyalla Pipeline No 4 PS | Riverland | Solar | 5.86 | 5.626 | 5.508 | 2041
Mt Millar Wind Farm | Eastern Eyre Peninsula | Wind | 72.28 | 72.28 | 72.28 | 2035
Murray Bridge - Onkaparinga Pipeline Pump 2 | South East SA | Solar | 13.746 | 13.194 | 12.918 | 2041
Port Augusta Renewable Energy Park - Solar | Northern SA | Solar | 79.2 | 79.2 | 79.2 | 2047
Port Augusta Renewable Energy Park - Wind | Northern SA | Wind | 210 | 210 | 210 | 2052
Snowtown S2 Wind Farm North | Mid-North SA | Wind | 144 | 144 | 133.2 | 2039
Snowtown S2 Wind Farm South | Mid-North SA | Wind | 126 | 126 | 116.55 | 2039
Snowtown Wind Farm | Mid-North SA | Wind | 98.7 | 98.7 | 65.8 | 2033
Starfish Hill | Non REZ | Wind | 33 | 33 | 33 | 2027
Tailem Bend - Solar | South East SA | Solar | 41.5 | 41.5 | 40.45 | 2049
Tailem Bend Stage 2 Solar Project | South East SA | Solar | 87 | 87 | 87 | 2053
Waterloo Wind Farm (38-43) | Mid-North SA | Wind | 111 | 111 | 0 | 2051
Waterloo Wind Farm (1-37) | Mid-North SA | Wind | 19.8 | 18.9 | 9 | 2045
Wattle Point | Yorke Peninsula | Wind | 90.75 | 90.75 | 90.75 | 2029
Willogoleche Wind Farm | Mid-North SA | Wind | 119.36 | 119.36 | 0 | 2043

## Generation Capacity (Winter)
Generation Capacity By Year (Winter Ratings)
The table below includes the capacity of the current and committed renewable generators in SA. Data from this table has been taken from AEMO's Generation Information.
Note that Goyder South Wind Farm 1B capacity is released over two FY. Thus, this site is split into a release of two stages of capacity.
All values are stated in terms of MW. ***This table is copied into the mapping table spreadsheet ***
Generator Site | REZ Location | Type | Initial ISP Listed Capacity [MW] | ISP Listed Capacity [MW] | FY Initial Capacity Release | FY Expected Commencement | FY Expected Retirement | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50 | 2050-51 | 2051-52
Adelaide Desalination Plant | Non REZ | Solar |  | 11 |  | Commenced | 2041 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bolivar Waste Water Treatment | Non REZ | Solar |  | 11.25 |  | Commenced | 2045 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 11.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bungala One Solar Farm | Northern SA | Solar |  | 109.62 |  | Commenced | 2044 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bungala Two Solar Farm | Northern SA | Solar |  | 109.62 |  | Commenced | 2044 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 109.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Canunda | South East SA | Wind |  | 46 |  | Commenced | 2035 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cathedral Rocks | Eastern Eyre Peninsula | Wind |  | 62 |  | Commenced | 2030 | 62 | 62 | 62 | 62 | 62 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Clements Gap Wind Farm | Mid-North SA | Wind |  | 56.7 |  | Commenced | 2039 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 56.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cultana Solar Farm | Northern SA | Solar |  | 279.76 |  | 2026 | 2055 | 0 | 0 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76
Goyder South Wind Farm 1A | Mid-North SA | Wind |  | 200.982 |  | 2024 | 2048 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 200.982 | 0 | 0 | 0 | 0
Goyder South Wind Farm 1B | Mid-North SA | Wind | 55.5 | 195.693 | 2024 | 2025 | 2049 | 55.5 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 195.693 | 0 | 0 | 0
Hallett 4 North Brown Hill | Mid-North SA | Wind |  | 131.985 |  | Commenced | 2036 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 131.985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hallett 5 The Bluff WF | Mid-North SA | Wind |  | 52.5 |  | Commenced | 2036 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 52.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hallett Stage 1 Brown Hill | Mid-North SA | Wind |  | 94.5 |  | Commenced | 2043 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hallett Stage 2 Hallett Hill | Mid-North SA | Wind |  | 71.4 |  | Commenced | 2035 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 71.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Happy Valley Reservoir | Non REZ | Solar |  | 8.328 |  | Commenced | 2041 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 8.328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hornsdale Wind Farm Stage 1 | Mid-North SA | Wind |  | 100 |  | Commenced | 2056 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Hornsdale Wind Farm Stage 2 | Mid-North SA | Wind |  | 100 |  | Commenced | 2057 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Hornsdale Wind Farm Stage 3 | Mid-North SA | Wind |  | 108.99 |  | Commenced | 2057 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99 | 108.99
Lake Bonney 1 Wind Farm | South East SA | Wind |  | 80.5 |  | Commenced | 2035 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 80.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lake Bonney 2 Wind Farm | South East SA | Wind |  | 159 |  | Commenced | 2038 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lake Bonney 3 Wind Farm | South East SA | Wind |  | 39 |  | Commenced | 2040 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lincoln Gap Wind Farm - stage 1 | Northern SA | Wind |  | 122.5 |  | Commenced | 2045 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 122.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lincoln Gap Wind Farm - Stage 2 | Northern SA | Wind |  | 84 |  | Commenced | 2045 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mannum Adelaide Pumping Station No 2 - MAPL2 (Palmer) | South East SA | Solar |  | 16.8 |  | Commenced | 2041 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mannum Adelaide Pumping Station No 3 - MAPL3 (Tungkillo) | South East SA | Solar |  | 12.36 |  | Commenced | 2041 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 12.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mannum Solar Farm 2 | Riverland | Solar |  | 29.986 |  | Commenced | 2058 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986
Morgan To Whyalla Pipeline No 1 PS And Water Filtration Plant | Riverland | Solar |  | 6.128 |  | Commenced | 2031 | 6.128 | 6.128 | 6.128 | 6.128 | 6.128 | 6.128 | 6.128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Morgan To Whyalla Pipeline No 2 PS | Riverland | Solar |  | 5.86 |  | Commenced | 2041 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Morgan To Whyalla Pipeline No 3 PS | Riverland | Solar |  | 7.371 |  | Commenced | 2045 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 7.371 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Morgan To Whyalla Pipeline No 4 PS | Riverland | Solar |  | 5.86 |  | Commenced | 2041 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 5.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mt Millar Wind Farm | Eastern Eyre Peninsula | Wind |  | 72.28 |  | Commenced | 2035 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Murray Bridge - Onkaparinga Pipeline Pump 2 | South East SA | Solar |  | 13.74 |  | Commenced | 2041 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 13.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Port Augusta Renewable Energy Park - Solar | Northern SA | Solar |  | 79.2 |  | Commenced | 2047 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 79.2 | 0 | 0 | 0 | 0 | 0
Port Augusta Renewable Energy Park - Wind | Northern SA | Wind |  | 210 |  | Commenced | 2052 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210 | 210
Snowtown S2 Wind Farm North | Mid-North SA | Wind |  | 144 |  | Commenced | 2039 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Snowtown S2 Wind Farm South | Mid-North SA | Wind |  | 126 |  | Commenced | 2039 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Snowtown Wind Farm | Mid-North SA | Wind |  | 98.7 |  | Commenced | 2033 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 98.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Starfish Hill | Non REZ | Wind |  | 33 |  | Commenced | 2027 | 33 | 33 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tailem Bend - Solar | South East SA | Solar |  | 95 |  | Commenced | 2049 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 0 | 0 | 0
Tailem Bend Stage 2 Solar Project | South East SA | Solar |  | 87 |  | Commenced | 2053 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87
Waterloo Wind Farm (38-43) | Mid-North SA | Wind |  | 19.8 |  | Commenced | 2051 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 19.8 | 0
Waterloo Wind Farm (1-37) | Mid-North SA | Wind |  | 111 |  | Commenced | 2045 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wattle Point | Yorke Peninsula | Wind |  | 90.75 |  | Commenced | 2029 | 90.75 | 90.75 | 90.75 | 90.75 | 90.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Willogoleche Wind Farm | Mid-North SA | Wind |  | 119.36 |  | Commenced | 2043 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 119.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Capacity by Year and REZ
Capacity by Year and REZ
Below is a pivot table linking to the 'Generation Capacity by Year' sheet. This sums up the amount of capacity expected in each REZ in each year that is made up of existing generators and comitted generators.
Row Labels | Sum of 2024-25 | Sum of 2025-26 | Sum of 2026-27 | Sum of 2027-28 | Sum of 2028-29 | Sum of 2029-30 | Sum of 2030-31 | Sum of 2031-32 | Sum of 2032-33 | Sum of 2033-34 | Sum of 2034-35 | Sum of 2035-36 | Sum of 2036-37 | Sum of 2037-38 | Sum of 2038-39 | Sum of 2039-40 | Sum of 2040-41 | Sum of 2041-42 | Sum of 2042-43 | Sum of 2043-44 | Sum of 2044-45 | Sum of 2045-46 | Sum of 2046-47 | Sum of 2047-48 | Sum of 2048-49 | Sum of 2049-50 | Sum of 2050-51 | Sum of 2051-52
Eastern Eyre Peninsula | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid-North SA | 1591.417 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1632.91 | 1632.91 | 1561.51 | 1377.025 | 1377.025 | 1377.025 | 1050.325 | 1050.325 | 1050.325 | 1050.325 | 836.465 | 836.465 | 725.465 | 725.465 | 725.465 | 524.483 | 328.79 | 328.79 | 308.99
Wind | 1591.417 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1632.91 | 1632.91 | 1561.51 | 1377.025 | 1377.025 | 1377.025 | 1050.325 | 1050.325 | 1050.325 | 1050.325 | 836.465 | 836.465 | 725.465 | 725.465 | 725.465 | 524.483 | 328.79 | 328.79 | 308.99
Non REZ | 63.578 | 63.578 | 63.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 11.25 | 11.25 | 11.25 | 11.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 30.578 | 11.25 | 11.25 | 11.25 | 11.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 33 | 33 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Northern SA | 714.94 | 714.94 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 994.7 | 775.46 | 568.96 | 568.96 | 489.76 | 489.76 | 489.76 | 489.76 | 489.76
Solar | 298.44 | 298.44 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 358.96 | 358.96 | 358.96 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76
Wind | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 210 | 210 | 210 | 210 | 210 | 210 | 210
Riverland | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 37.357 | 37.357 | 37.357 | 37.357 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986
Solar | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 37.357 | 37.357 | 37.357 | 37.357 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986
South East SA | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 549.4 | 422.9 | 422.9 | 422.9 | 263.9 | 263.9 | 224.9 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 87 | 87 | 87
Solar | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 87 | 87 | 87
Wind | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 198 | 198 | 198 | 39 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yorke Peninsula | 90.75 | 90.75 | 90.75 | 90.75 | 90.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | 90.75 | 90.75 | 90.75 | 90.75 | 90.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grand Total | 3199.57 | 3339.763 | 3619.523 | 3586.523 | 3586.523 | 3495.773 | 3433.773 | 3427.645 | 3427.645 | 3328.945 | 3328.945 | 3058.765 | 2874.28 | 2874.28 | 2715.28 | 2388.58 | 2349.58 | 2275.632 | 2275.632 | 2061.772 | 1842.532 | 1506.411 | 1506.411 | 1427.211 | 1226.229 | 935.536 | 935.536 | 915.736
Table manually created by copying the values above into the relevant entries. This displays the amount of generation in each REZ that is consistent of current and comitted generators.
REZ Name | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
South East SA | Solar | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 224.9 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 182 | 87 | 87 | 87
Riverland | Solar | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 55.205 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 49.077 | 37.357 | 37.357 | 37.357 | 37.357 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986 | 29.986
Mid-North SA | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yorke Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Northern SA | Solar | 298.44 | 298.44 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 578.2 | 358.96 | 358.96 | 358.96 | 279.76 | 279.76 | 279.76 | 279.76 | 279.76
Leigh Creek | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roxby Downs | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eastern Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Western Eyre Peninsula | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South East SA | Wind | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 324.5 | 198 | 198 | 198 | 39 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Riverland | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid-North SA | Wind | 1591.417 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1731.61 | 1632.91 | 1632.91 | 1561.51 | 1377.025 | 1377.025 | 1377.025 | 1050.325 | 1050.325 | 1050.325 | 1050.325 | 836.465 | 836.465 | 725.465 | 725.465 | 725.465 | 524.483 | 328.79 | 328.79 | 308.99
Yorke Peninsula | Wind | 90.75 | 90.75 | 90.75 | 90.75 | 90.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Northern SA | Wind | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 416.5 | 210 | 210 | 210 | 210 | 210 | 210 | 210
Leigh Creek | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roxby Downs | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Eastern Eyre Peninsula | Wind | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 134.28 | 72.28 | 72.28 | 72.28 | 72.28 | 72.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Western Eyre Peninsula | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## AEMO Generation Information
AEMO Generator Information
The following dataset is a subset of AEMO's generation data, filtered by SA and the technology type to solar and wind. Small scale plants are not included here, only ones with a DUID.
Link: https://aemo.com.au/en/energy-systems/electricity/national-electricity-market-nem/nem-forecasting-and-planning/forecasting-and-planning-data/generation-information
SS | Semi Scheduled
NS | Non-Scheduled
This first table includes the generator information but with some minor modifications. Firstly, only PV1 array at the Adelaide Desalination Plant is considered as the other is not included in the ISP caclulations. Secondly, Christies Beach is removed as it does not classify as large scale and is not included in the ISP calculations. Nameplate capacities are then checked against the ISP assumptions. If there is a difference, the capacity is modified to the one given in the ISP. A REZ Region column is also added.
Modified Generation Table To Match ISP Assumptions
Asset Type | Site Name | REZ Region | Owner | Technology Type | Fuel Type | DUID | ISP Listed Capacity (MW) | Unit Status | Dispatch Type | Expected Closure Year
Existing Plant | Adelaide Desalination Plant | Non REZ | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | ADPPV1 | 11 | In Service | SS | 2041
Existing Plant | Bolivar Waste Water Treatment | Non REZ | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | BOWWPV1 | 11.25 | In Service | SS | 2045
Existing Plant | Bungala One Solar Farm | Northern SA | Bungala One Operations Pty Ltd as trustee for the Bungala One Operations Trust | Solar PV - Single axis tracking | Solar - Solar | BNGSF1 | 109.62 | In Service | SS | 2044
Existing Plant | Bungala Two Solar Farm | Northern SA | Bungala Two Operations Pty Ltd as trustee for the Bungala Two Operations Trust | Solar PV - Single axis tracking | Solar - Solar | BNGSF2 | 109.62 | In Service | SS | 2044
Existing Plant | Canunda | South East SA | Canunda Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CNUNDAWF | 46 | In Service | SS | 2035
Existing Plant | Cathedral Rocks | Eastern Eyre Peninsula | JV Cathedral Rock Investments Pty Ltd - Acciona Energy Australia Global Pty Ltd and EnergyAustralia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CATHROCK | 62 | In Service | SS | 2030
Existing Plant | Clements Gap Wind Farm | Mid-North SA | Pacific Hydro Clements Gap Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CLEMGPWF | 56.7 | In Service | SS | 2039
Project | Cultana Solar Farm | Northern SA | Cultana Solar Project Company Pty Ltd as trustee for the Cultana Solar Farm Trust | Solar PV - Single axis tracking | Solar - Solar |  | 279.76 | Anticipated | SS | 2055
Project | Goyder South Wind Farm 1A | Mid-North SA | Neoen Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | GSWF1A | 200.982 | Committed | SS | 2048
Project | Goyder South Wind Farm 1B | Mid-North SA | Neoen Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | GSWF1B | 195.693 | Committed | SS | 2049
Existing Plant | Hallett 4 North Brown Hill | Mid-North SA | Brown Hill North Pty Ltd | Wind Turbine - Onshore | Wind - Wind | NBHWF1 | 131.985 | In Service | SS | 2036
Existing Plant | Hallett 5 The Bluff WF | Mid-North SA | Eurus Energy | Wind Turbine - Onshore | Wind - Wind | BLUFF1 | 52.5 | In Service | SS | 2036
Existing Plant | Hallett Stage 1 Brown Hill | Mid-North SA | Palisade Investment Partner Limited | Wind Turbine - Onshore | Wind - Wind | HALLWF1 | 94.5 | In Service | SS | 2043
Existing Plant | Hallett Stage 2 Hallett Hill | Mid-North SA | Infrastructure Capital Group Limited | Wind Turbine - Onshore | Wind - Wind | HALLWF2 | 71.4 | In Service | SS | 2035
Existing Plant | Happy Valley Reservoir | Non REZ | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | HVWAPV1 | 8.328 | In Service | SS | 2041
Existing Plant | Hornsdale Wind Farm Stage 1 | Mid-North SA | HWF 1 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF1 | 100 | In Service | SS | 2056
Existing Plant | Hornsdale Wind Farm Stage 2 | Mid-North SA | HWF 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF2 | 100 | In Service | SS | 2057
Existing Plant | Hornsdale Wind Farm Stage 3 | Mid-North SA | HWF 3 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF3 | 108.99 | In Service | SS | 2057
Existing Plant | Lake Bonney 1 Wind Farm | South East SA | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY1 | 80.5 | In Service | NS | 2035
Existing Plant | Lake Bonney 2 Wind Farm | South East SA | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY2 | 159 | In Service | SS | 2038
Existing Plant | Lake Bonney 3 Wind Farm | South East SA | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY3 | 39 | In Service | SS | 2040
Existing Plant | Lincoln Gap Wind Farm - stage 1 | Northern SA | Lincoln Gap Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LGAPWF1 | 126 | In Service | SS | 2045
Existing Plant | Lincoln Gap Wind Farm - Stage 2 | Northern SA | Lincoln Gap Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LGAPWF2 | 86.4 | In Service | SS | 2045
Existing Plant | Mannum Adelaide Pumping Station No 2 - MAPL2 (Palmer) | South East SA | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MAPS2PV1 | 16.8 | In Service | SS | 2041
Existing Plant | Mannum Adelaide Pumping Station No 3 - MAPL3 (Tungkillo) | South East SA | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MAPS3PV1 | 12.36 | In Service | SS | 2041
Project | Mannum Solar Farm 2 | Riverland | Mannum Stage 2 SubCo Pty Ltd as trustee for the Mannum Stage 2 Unit Trust | Solar PV - Single axis tracking | Solar - Solar | MANSF2 | 29.986 | Committed* | SS | 2058
Existing Plant | Morgan To Whyalla Pipeline No 1 PS And Water Filtration Plant | Riverland | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS1PV1 | 6.128 | In Service | SS | 2031
Existing Plant | Morgan To Whyalla Pipeline No 2 PS | Riverland | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS2PV1 | 5.86 | In Service | SS | 2041
Existing Plant | Morgan To Whyalla Pipeline No 3 PS | Riverland | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS3PV1 | 7.371 | In Service | SS | 2045
Existing Plant | Morgan To Whyalla Pipeline No 4 PS | Riverland | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS4PV1 | 5.86 | In Service | SS | 2041
Existing Plant | Mt Millar Wind Farm | Eastern Eyre Peninsula | MT MILLAR WIND FARM PTY LTD | Wind Turbine - Onshore | Wind - Wind | MTMILLAR | 70 | In Service | NS | 2035
Existing Plant | Murray Bridge - Onkaparinga Pipeline Pump 2 | South East SA | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MBPS2PV1 | 13.746 | In Service | SS | 2041
Existing Plant | Port Augusta Renewable Energy Park - Solar | Northern SA | PAREP 1 Pty Ltd | Solar PV - Fixed | Solar - Solar | PAREPS1 | 79.2 | In Service | SS | 2047
Existing Plant | Port Augusta Renewable Energy Park - Wind | Northern SA | PAREP 1 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | PAREPW1 | 210 | In Service | SS | 2052
Existing Plant | Snowtown S2 Wind Farm North | Mid-North SA | Snowtown Wind Farm Stage 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWNTH1 | 144 | In Service | SS | 2039
Existing Plant | Snowtown S2 Wind Farm South | Mid-North SA | Snowtown Wind Farm Stage 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWSTH1 | 126 | In Service | SS | 2039
Existing Plant | Snowtown Wind Farm | Mid-North SA | Snowtown Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWTWN1 | 98.7 | In Service | SS | 2033
Existing Plant | Starfish Hill | Non REZ | Ratch Australia | Wind Turbine - Onshore | Wind - Wind | STARHLWF | 33 | In Service | NS | 2027
Existing Plant | Tailem Bend - Solar | South East SA | Vena Energy | Solar PV - Fixed | Solar - Solar | TBSF1 | 94.9968 | In Service | SS | 2049
Existing Plant | Tailem Bend Stage 2 Solar Project | South East SA | Vena Energy | Solar PV - Single axis tracking | Solar - Solar | TB2SF1 | 87 | In Commissioning | SS | 2053
Existing Plant | Waterloo Wind Farm (1-37) | Mid-North SA | Waterloo Windfarm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WATERLWF | 111 | In Service | SS | 2045
Existing Plant | Waterloo Wind Farm (38-43) | Mid-North SA | Waterloo Windfarm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WATERLWF | 19.8 | In Service | SS | 2051
Existing Plant | Wattle Point | Yorke Peninsula | Infrastructure Capital Group | Wind Turbine - Onshore | Wind - Wind | WPWF | 90.75 | In Service | NS | 2029
Existing Plant | Willogoleche Wind Farm | Mid-North SA | Willogoleche Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WGWF1 | 119.36 | In Service | SS | 2043
Raw Large Scale Solar and Wind Farms Generation Information
Asset Type | Site Name | Owner | Technology Type | Fuel Type | DUID | Number of Units | Lower Nameplate Capacity (MW) | Upper Nameplate Capacity (MW) | Aggregated Lower Nameplate Capacity (MW) | Aggregated Upper Nameplate Capacity (MW) | Nameplate Capacity (MW) | Unit Status | Dispatch Type | Full Commercial Use Date | Expected Closure Year | Closure Date
Existing Plant | Adelaide Desalination Plant | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | ADPPV1 | 4 |  | 2.75 |  | 11 | 11 | In Service | SS | 2022-05-01 | 2041
Existing Plant | Adelaide Desalination Plant | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | ADPPV2 | 4 |  | 3.43 |  | 13.72 | 13.72 | In Service | NS | 2022-07-01 | 2041
Existing Plant | Bolivar Waste Water Treatment | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | BOWWPV1 | 3 |  | 3.75 |  | 11.25 | 11.25 | In Service | SS | 2022-10-01 | 2045
Existing Plant | Bungala One Solar Farm | Bungala One Operations Pty Ltd as trustee for the Bungala One Operations Trust | Solar PV - Single axis tracking | Solar - Solar | BNGSF1 | 54 | 2.04 | 2.5 | 110.16 | 135 | 135 | In Service | SS | 2018-12-01 | 2044
Existing Plant | Bungala Two Solar Farm | Bungala Two Operations Pty Ltd as trustee for the Bungala Two Operations Trust | Solar PV - Single axis tracking | Solar - Solar | BNGSF2 | 54 | 2.04 | 2.5 | 110.16 | 135 | 135 | In Service | SS | 2021-09-01 | 2044
Existing Plant | Canunda | Canunda Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CNUNDAWF | 23 | 2 | 2 | 46 | 46 | 46 | In Service | SS |  | 2035
Existing Plant | Cathedral Rocks | JV Cathedral Rock Investments Pty Ltd - Acciona Energy Australia Global Pty Ltd and EnergyAustralia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CATHROCK | 31 | 2 | 2 | 62 | 62 | 62 | In Service | SS |  | 2030
Existing Plant | Christies Beach Wastewater Treatment Plant | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | CBWWPV1 | 2 |  | 2.4 |  | 4.8 | 4.8 | In Service | NS | 2022-10-01 | 2041
Existing Plant | Clements Gap Wind Farm | Pacific Hydro Clements Gap Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CLEMGPWF | 27 |  | 2.1 |  | 56.7 | 56.7 | In Service | SS |  | 2039
Project | Cultana Solar Farm | Cultana Solar Project Company Pty Ltd as trustee for the Cultana Solar Farm Trust | Solar PV - Single axis tracking | Solar - Solar |  | 104 | 0 | 3.44 | 0 | 357.45 | 357.45 | Anticipated | SS | 2026-07-01 | 2055
Project | Goyder South Wind Farm 1A | Neoen Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | GSWF1A | 38 | 0 | 5.5 | 0 | 209 | 209 | Committed | SS | 2024-06-01 | 2048
Project | Goyder South Wind Farm 1B | Neoen Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | GSWF1B | 37 | 0 | 5.5 | 0 | 203.5 | 203.5 | Committed | SS | 2024-12-01 | 2049
Existing Plant | Hallett 4 North Brown Hill | Brown Hill North Pty Ltd | Wind Turbine - Onshore | Wind - Wind | NBHWF1 | 63 | 2.1 | 2.1 | 132.3 | 132.3 | 132.3 | In Service | SS |  | 2036
Existing Plant | Hallett 5 The Bluff WF | Eurus Energy | Wind Turbine - Onshore | Wind - Wind | BLUFF1 | 25 |  | 2.1 |  | 52.5 | 52.5 | In Service | SS |  | 2036
Existing Plant | Hallett Stage 1 Brown Hill | Palisade Investment Partner Limited | Wind Turbine - Onshore | Wind - Wind | HALLWF1 | 45 | 2.1 | 2.1 | 94.5 | 94.5 | 94.5 | In Service | SS |  | 2043
Existing Plant | Hallett Stage 2 Hallett Hill | Infrastructure Capital Group Limited | Wind Turbine - Onshore | Wind - Wind | HALLWF2 | 34 | 2.1 | 2.1 | 71.4 | 71.4 | 71.4 | In Service | SS |  | 2035
Existing Plant | Happy Valley Reservoir | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | HVWAPV1 | 3 |  | 2.78 |  | 8.34 | 8.34 | In Service | SS | 2022-09-01 | 2041
Existing Plant | Hornsdale Wind Farm Stage 1 | HWF 1 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF1 | 32 | 3.2 | 3.2 | 102.4 | 102.4 | 102.4 | In Service | SS |  | 2056
Existing Plant | Hornsdale Wind Farm Stage 2 | HWF 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF2 | 32 | 3.2 | 3.2 | 102.4 | 102.4 | 102.4 | In Service | SS |  | 2057
Existing Plant | Hornsdale Wind Farm Stage 3 | HWF 3 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF3 | 35 | 3.2 | 3.2 | 112 | 112 | 112 | In Service | SS |  | 2057
Existing Plant | Lake Bonney 1 Wind Farm | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY1 | 46 | 1.75 | 1.75 | 80.5 | 80.5 | 80.5 | In Service | NS |  | 2035
Existing Plant | Lake Bonney 2 Wind Farm | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY2 | 53 | 3 | 3 | 159 | 159 | 159 | In Service | SS |  | 2038
Existing Plant | Lake Bonney 3 Wind Farm | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY3 | 13 | 3 | 3 | 39 | 39 | 39 | In Service | SS |  | 2040
Existing Plant | Lincoln Gap Wind Farm - stage 1 | Lincoln Gap Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LGAPWF1 | 35 | 3.6 | 3.6 | 126 | 126 | 126 | In Service | SS | 2020-08-01 | 2045
Existing Plant | Lincoln Gap Wind Farm - Stage 2 | Lincoln Gap Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LGAPWF2 | 24 | 3.6 | 3.6 | 86.4 | 86.4 | 86.4 | In Service | SS | 2022-02-01 | 2045
Existing Plant | Mannum Adelaide Pumping Station No 2 - MAPL2 (Palmer) | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MAPS2PV1 | 6 |  | 2.8 |  | 16.8 | 16.8 | In Service | SS | 2022-05-01 | 2041
Existing Plant | Mannum Adelaide Pumping Station No 3 - MAPL3 (Tungkillo) | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MAPS3PV1 | 6 |  | 2.06 |  | 12.36 | 12.36 | In Service | SS | 2023-01-01 | 2041
Project | Mannum Solar Farm 2 | Mannum Stage 2 SubCo Pty Ltd as trustee for the Mannum Stage 2 Unit Trust | Solar PV - Single axis tracking | Solar - Solar | MANSF2 | 11 |  | 2.73 |  | 29.99 | 29.99 | Committed* | SS | 2024-02-01 | 2058
Existing Plant | Morgan To Whyalla Pipeline No 1 PS And Water Filtration Plant | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS1PV1 | 2 |  | 3.06 |  | 6.12 | 6.12 | In Service | SS | 2022-08-01 | 2031
Existing Plant | Morgan To Whyalla Pipeline No 2 PS | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS2PV1 | 2 |  | 2.94 |  | 5.88 | 5.88 | In Service | SS | 2022-06-01 | 2041
Existing Plant | Morgan To Whyalla Pipeline No 3 PS | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS3PV1 | 3 |  | 2.46 |  | 7.38 | 7.38 | In Service | SS | 2022-06-01 | 2045
Existing Plant | Morgan To Whyalla Pipeline No 4 PS | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS4PV1 | 2 |  | 2.94 |  | 5.88 | 5.88 | In Service | SS | 2022-08-01 | 2041
Existing Plant | Mt Millar Wind Farm | MT MILLAR WIND FARM PTY LTD | Wind Turbine - Onshore | Wind - Wind | MTMILLAR | 35 |  | 2.07 |  | 72.28 | 72.28 | In Service | NS |  | 2035
Existing Plant | Murray Bridge - Onkaparinga Pipeline Pump 2 | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MBPS2PV1 | 6 |  | 2.29 |  | 13.74 | 13.74 | In Service | SS | 2022-08-01 | 2041
Existing Plant | Port Augusta Renewable Energy Park - Solar | PAREP 1 Pty Ltd | Solar PV - Fixed | Solar - Solar | PAREPS1 | 36 | 2.2 | 2.2 | 79.2 | 79.2 | 79.2 | In Service | SS | 2023-01-01 | 2047
Existing Plant | Port Augusta Renewable Energy Park - Wind | PAREP 1 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | PAREPW1 | 50 | 4.2 | 4.2 | 210 | 210 | 210 | In Service | SS |  | 2052
Existing Plant | Snowtown S2 Wind Farm | Snowtown Wind Farm Stage 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWNTH1 | 48 |  | 3 |  | 144 | 144 | In Service | SS |  | 2039
Existing Plant | Snowtown S2 Wind Farm | Snowtown Wind Farm Stage 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWSTH1 | 42 |  | 3 |  | 126 | 126 | In Service | SS |  | 2039
Existing Plant | Snowtown Wind Farm | Snowtown Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWTWN1 | 47 |  | 2.1 |  | 98.7 | 98.7 | In Service | SS |  | 2033
Existing Plant | Starfish Hill | Ratch Australia | Wind Turbine - Onshore | Wind - Wind | STARHLWF | 22 |  | 1.5 |  | 33 | 33 | In Service | NS |  | 2027
Existing Plant | Tailem Bend - Solar | Vena Energy | Solar PV - Fixed | Solar - Solar | TBSF1 | 1 | 108 | 108 | 108 | 108 | 108 | In Service | SS | 2019-04-01 | 2049
Existing Plant | Tailem Bend Stage 2 Solar Project | Vena Energy | Solar PV - Single axis tracking | Solar - Solar | TB2SF1 | 1 |  | 105 |  | 105 | 105 | In Commissioning | SS | 2023-09-01 | 2053
Existing Plant | Waterloo Wind Farm | Waterloo Windfarm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WATERLWF | 6 |  | 3.3 |  | 19.8 | 19.8 | In Service | SS |  | 2051
Existing Plant | Waterloo Wind Farm | Waterloo Windfarm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WATERLWF | 37 |  | 3 |  | 111 | 111 | In Service | SS |  | 2045
Existing Plant | Wattle Point | Infrastructure Capital Group | Wind Turbine - Onshore | Wind - Wind | WPWF | 55 | 1.65 | 1.65 | 90.75 | 90.75 | 90.75 | In Service | NS |  | 2029
Existing Plant | Willogoleche Wind Farm | Willogoleche Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WGWF1 | 8 |  | 3.43 |  | 27.44 | 27.44 | In Service | SS | 2019-10-01 | 2043
Existing Plant | Willogoleche Wind Farm | Willogoleche Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WGWF1 | 24 |  | 3.83 |  | 91.92 | 91.92 | In Service | SS | 2019-10-01 | 2043
[9 empty] | 130.8 |  | 130.8